## Rain
Williams Roof Davis Weather Monitor II
Williams Mountaintop Davis Health Monitor
2003-11-14 | Calibration of rain gage by slowly pouring known volume into funnel
| Test of rain gages | reported | funnel | funnel | test vol | funnel A | predicted | predicted | error
| Poured 150 ml slowly through each gage | inches | diam in. | diam cm | cm3 | cm2 | cm | inches | %
| Davis WmsRoof, 3:02-3:04 EST | 0.2 | 6.5 | 16.51 | 150 | 214.0839 | 0.70066 | 0.27585 | -27.5%
| Davis MTC, 1:33-1:35 EST | 0.24 | 6.4375 | 16.3513 | 150 | 209.9867 | 0.71433 | 0.28123 | -14.66%