## licor_001023
licor_001023.xls |  | L-COR LI-1000 data logger and LI-200sa pyranometer sensor (cal mult -10.0) give Watts per m2
Leveled on grassy area near Iacocca Hall next to Davis Health Monitor station during several days of clear skies
Time on datalogger synchronized to BRH watch (matched to Internet time); Data processed by Cliff Buck
Date | TimeEDT | Mode | Data |  | Jday | Hour | Minutes | Dec Time Raw | Jdtime Raw | Dec Time | Jday | Jdtime
2000-10-20 | 1545 | 1M | 20.8 | W | 294 | 15 | 45 | 15.75 | 294.6562 | 15.75 | 294 | 294.6562
2000-10-20 | 1600 | 1M | 24.46 | W | 294 | 16 | 0 | 16 | 294.6667 | 16 | 294 | 294.6667
2000-10-20 | 1615 | 1M | 214.7 | W | 294 | 16 | 15 | 16.25 | 294.6771 | 16.25 | 294 | 294.6771
2000-10-20 | 1630 | 1M | 297.3 | W | 294 | 16 | 30 | 16.5 | 294.6875 | 16.5 | 294 | 294.6875
2000-10-20 | 1645 | 1M | 250.7 | W | 294 | 16 | 45 | 16.75 | 294.6979 | 16.75 | 294 | 294.6979
2000-10-20 | 1700 | 1M | 206.2 | W | 294 | 17 | 0 | 17 | 294.7083 | 17 | 294 | 294.7083
2000-10-20 | 1715 | 1M | 159.6 | W | 294 | 17 | 15 | 17.25 | 294.7188 | 17.25 | 294 | 294.7188
2000-10-20 | 1730 | 1M | 115.2 | W | 294 | 17 | 30 | 17.5 | 294.7292 | 17.5 | 294 | 294.7292
2000-10-20 | 1745 | 1M | 68.94 | W | 294 | 17 | 45 | 17.75 | 294.7396 | 17.75 | 294 | 294.7396
2000-10-20 | 1800 | 1M | 29.34 | W | 294 | 18 | 0 | 18 | 294.75 | 18 | 294 | 294.75
2000-10-20 | 1815 | 1M | 8.334 | W | 294 | 18 | 15 | 18.25 | 294.7604 | 18.25 | 294 | 294.7604
2000-10-20 | 1830 | 1M | 2.049 | W | 294 | 18 | 30 | 18.5 | 294.7708 | 18.5 | 294 | 294.7708
2000-10-20 | 1845 | 1M | 0.1833 | W | 294 | 18 | 45 | 18.75 | 294.7812 | 18.75 | 294 | 294.7812
2000-10-20 | 1900 | 1M | 0.004594 | W | 294 | 19 | 0 | 19 | 294.7917 | 19 | 294 | 294.7917
2000-10-20 | 1915 | 1M | 0.0003266 | W | 294 | 19 | 15 | 19.25 | 294.8021 | 19.25 | 294 | 294.8021
2000-10-20 | 1930 | 1M | 0.000141 | W | 294 | 19 | 30 | 19.5 | 294.8125 | 19.5 | 294 | 294.8125
2000-10-20 | 1945 | 1M | 0.0001204 | W | 294 | 19 | 45 | 19.75 | 294.8229 | 19.75 | 294 | 294.8229
2000-10-20 | 2000 | 1M | 6.916e-05 | W | 294 | 20 | 0 | 20 | 294.8333 | 20 | 294 | 294.8333
2000-10-20 | 2015 | 1M | 0.0001315 | W | 294 | 20 | 15 | 20.25 | 294.8438 | 20.25 | 294 | 294.8438
2000-10-20 | 2030 | 1M | 6.645e-05 | W | 294 | 20 | 30 | 20.5 | 294.8542 | 20.5 | 294 | 294.8542
2000-10-20 | 2045 | 1M | 0.000109 | W | 294 | 20 | 45 | 20.75 | 294.8646 | 20.75 | 294 | 294.8646
2000-10-20 | 2100 | 1M | 0.0001232 | W | 294 | 21 | 0 | 21 | 294.875 | 21 | 294 | 294.875
2000-10-20 | 2115 | 1M | 0.0001188 | W | 294 | 21 | 15 | 21.25 | 294.8854 | 21.25 | 294 | 294.8854
2000-10-20 | 2130 | 1M | 0.0001912 | W | 294 | 21 | 30 | 21.5 | 294.8958 | 21.5 | 294 | 294.8958
2000-10-20 | 2145 | 1M | 0.0001917 | W | 294 | 21 | 45 | 21.75 | 294.9062 | 21.75 | 294 | 294.9062
2000-10-20 | 2200 | 1M | 0.0002194 | W | 294 | 22 | 0 | 22 | 294.9167 | 22 | 294 | 294.9167
2000-10-20 | 2215 | 1M | 0.0001485 | W | 294 | 22 | 15 | 22.25 | 294.9271 | 22.25 | 294 | 294.9271
2000-10-20 | 2230 | 1M | 6.441e-06 | W | 294 | 22 | 30 | 22.5 | 294.9375 | 22.5 | 294 | 294.9375
2000-10-20 | 2245 | 1M | 4.679e-05 | W | 294 | 22 | 45 | 22.75 | 294.9479 | 22.75 | 294 | 294.9479
2000-10-20 | 2300 | 1M | 0.0001348 | W | 294 | 23 | 0 | 23 | 294.9583 | 23 | 294 | 294.9583
2000-10-20 | 2315 | 1M | 4.458e-05 | W | 294 | 23 | 15 | 23.25 | 294.9688 | 23.25 | 294 | 294.9688
2000-10-20 | 2330 | 1M | 4.882e-05 | W | 294 | 23 | 30 | 23.5 | 294.9792 | 23.5 | 294 | 294.9792
2000-10-20 | 2345 | 1M | 2.848e-05 | W | 294 | 23 | 45 | 23.75 | 294.9896 | 23.75 | 294 | 294.9896
2000-10-21 | 0 | 1M | 7.593e-05 | W | 295 | 0 | 0 | 0 | 295 | 24 | 294 | 295
2000-10-21 | 15 | 1M | 5.153e-05 | W | 295 | 0 | 15 | 0.25 | 295.0104 | 0.25 | 295 | 295.0104
2000-10-21 | 30 | 1M | 4.068e-06 | W | 295 | 0 | 30 | 0.5 | 295.0208 | 0.5 | 295 | 295.0208
2000-10-21 | 45 | 1M | 2.441e-05 | W | 295 | 0 | 45 | 0.75 | 295.0312 | 0.75 | 295 | 295.0312
2000-10-21 | 100 | 1M | 2.441e-05 | W | 295 | 1 | 0 | 1 | 295.0417 | 1 | 295 | 295.0417
2000-10-21 | 115 | 1M | 8.238e-05 | W | 295 | 1 | 15 | 1.25 | 295.0521 | 1.25 | 295 | 295.0521
2000-10-21 | 130 | 1M | 8.322e-05 | W | 295 | 1 | 30 | 1.5 | 295.0625 | 1.5 | 295 | 295.0625
2000-10-21 | 145 | 1M | 2.203e-05 | W | 295 | 1 | 45 | 1.75 | 295.0729 | 1.75 | 295 | 295.0729
2000-10-21 | 200 | 1M | 9.07e-05 | W | 295 | 2 | 0 | 2 | 295.0833 | 2 | 295 | 295.0833
2000-10-21 | 215 | 1M | 0.0002048 | W | 295 | 2 | 15 | 2.25 | 295.0938 | 2.25 | 295 | 295.0938
2000-10-21 | 230 | 1M | 0.0002155 | W | 295 | 2 | 30 | 2.5 | 295.1042 | 2.5 | 295 | 295.1042
2000-10-21 | 245 | 1M | 0.0001607 | W | 295 | 2 | 45 | 2.75 | 295.1146 | 2.75 | 295 | 295.1146
2000-10-21 | 300 | 1M | 3.78e-05 | W | 295 | 3 | 0 | 3 | 295.125 | 3 | 295 | 295.125
2000-10-21 | 315 | 1M | 7.543e-05 | W | 295 | 3 | 15 | 3.25 | 295.1354 | 3.25 | 295 | 295.1354
2000-10-21 | 330 | 1M | 0.0001644 | W | 295 | 3 | 30 | 3.5 | 295.1458 | 3.5 | 295 | 295.1458
2000-10-21 | 345 | 1M | 0.0002197 | W | 295 | 3 | 45 | 3.75 | 295.1562 | 3.75 | 295 | 295.1562
2000-10-21 | 400 | 1M | 0.0002346 | W | 295 | 4 | 0 | 4 | 295.1667 | 4 | 295 | 295.1667
2000-10-21 | 415 | 1M | 0.0002292 | W | 295 | 4 | 15 | 4.25 | 295.1771 | 4.25 | 295 | 295.1771
2000-10-21 | 430 | 1M | 0.0002373 | W | 295 | 4 | 30 | 4.5 | 295.1875 | 4.5 | 295 | 295.1875
2000-10-21 | 445 | 1M | 0.000259 | W | 295 | 4 | 45 | 4.75 | 295.1979 | 4.75 | 295 | 295.1979
2000-10-21 | 500 | 1M | 0.0002794 | W | 295 | 5 | 0 | 5 | 295.2083 | 5 | 295 | 295.2083
2000-10-21 | 515 | 1M | 0.0002333 | W | 295 | 5 | 15 | 5.25 | 295.2188 | 5.25 | 295 | 295.2188
2000-10-21 | 530 | 1M | 6.372e-05 | W | 295 | 5 | 30 | 5.5 | 295.2292 | 5.5 | 295 | 295.2292
2000-10-21 | 545 | 1M | 5.423e-05 | W | 295 | 5 | 45 | 5.75 | 295.2396 | 5.75 | 295 | 295.2396
2000-10-21 | 600 | 1M | 9.627e-05 | W | 295 | 6 | 0 | 6 | 295.25 | 6 | 295 | 295.25
2000-10-21 | 615 | 1M | 0.0002007 | W | 295 | 6 | 15 | 6.25 | 295.2604 | 6.25 | 295 | 295.2604
2000-10-21 | 630 | 1M | 0.0003756 | W | 295 | 6 | 30 | 6.5 | 295.2708 | 6.5 | 295 | 295.2708
2000-10-21 | 645 | 1M | 0.002265 | W | 295 | 6 | 45 | 6.75 | 295.2812 | 6.75 | 295 | 295.2812
2000-10-21 | 700 | 1M | 0.05985 | W | 295 | 7 | 0 | 7 | 295.2917 | 7 | 295 | 295.2917
2000-10-21 | 715 | 1M | 1.049 | W | 295 | 7 | 15 | 7.25 | 295.3021 | 7.25 | 295 | 295.3021
2000-10-21 | 730 | 1M | 5.909 | W | 295 | 7 | 30 | 7.5 | 295.3125 | 7.5 | 295 | 295.3125
2000-10-21 | 745 | 1M | 19.64 | W | 295 | 7 | 45 | 7.75 | 295.3229 | 7.75 | 295 | 295.3229
2000-10-21 | 800 | 1M | 66.74 | W | 295 | 8 | 0 | 8 | 295.3333 | 8 | 295 | 295.3333
2000-10-21 | 815 | 1M | 114.4 | W | 295 | 8 | 15 | 8.25 | 295.3438 | 8.25 | 295 | 295.3438
2000-10-21 | 830 | 1M | 155.5 | W | 295 | 8 | 30 | 8.5 | 295.3542 | 8.5 | 295 | 295.3542
2000-10-21 | 845 | 1M | 201.3 | W | 295 | 8 | 45 | 8.75 | 295.3646 | 8.75 | 295 | 295.3646
2000-10-21 | 900 | 1M | 249.4 | W | 295 | 9 | 0 | 9 | 295.375 | 9 | 295 | 295.375
2000-10-21 | 915 | 1M | 297.9 | W | 295 | 9 | 15 | 9.25 | 295.3854 | 9.25 | 295 | 295.3854
2000-10-21 | 930 | 1M | 344.2 | W | 295 | 9 | 30 | 9.5 | 295.3958 | 9.5 | 295 | 295.3958
2000-10-21 | 945 | 1M | 388.6 | W | 295 | 9 | 45 | 9.75 | 295.4062 | 9.75 | 295 | 295.4062
2000-10-21 | 1000 | 1M | 429.2 | W | 295 | 10 | 0 | 10 | 295.4167 | 10 | 295 | 295.4167
2000-10-21 | 1015 | 1M | 466 | W | 295 | 10 | 15 | 10.25 | 295.4271 | 10.25 | 295 | 295.4271
2000-10-21 | 1030 | 1M | 496.2 | W | 295 | 10 | 30 | 10.5 | 295.4375 | 10.5 | 295 | 295.4375
2000-10-21 | 1045 | 1M | 531.8 | W | 295 | 10 | 45 | 10.75 | 295.4479 | 10.75 | 295 | 295.4479
2000-10-21 | 1100 | 1M | 559.4 | W | 295 | 11 | 0 | 11 | 295.4583 | 11 | 295 | 295.4583
2000-10-21 | 1115 | 1M | 581.6 | W | 295 | 11 | 15 | 11.25 | 295.4688 | 11.25 | 295 | 295.4688
2000-10-21 | 1130 | 1M | 576.9 | W | 295 | 11 | 30 | 11.5 | 295.4792 | 11.5 | 295 | 295.4792
2000-10-21 | 1145 | 1M | 610.8 | W | 295 | 11 | 45 | 11.75 | 295.4896 | 11.75 | 295 | 295.4896
2000-10-21 | 1200 | 1M | 594.6 | W | 295 | 12 | 0 | 12 | 295.5 | 12 | 295 | 295.5
2000-10-21 | 1215 | 1M | 628.2 | W | 295 | 12 | 15 | 12.25 | 295.5104 | 12.25 | 295 | 295.5104
2000-10-21 | 1230 | 1M | 547.2 | W | 295 | 12 | 30 | 12.5 | 295.5208 | 12.5 | 295 | 295.5208
2000-10-21 | 1245 | 1M | 696.8 | W | 295 | 12 | 45 | 12.75 | 295.5312 | 12.75 | 295 | 295.5312
2000-10-21 | 1300 | 1M | 621.3 | W | 295 | 13 | 0 | 13 | 295.5417 | 13 | 295 | 295.5417
2000-10-21 | 1315 | 1M | 672 | W | 295 | 13 | 15 | 13.25 | 295.5521 | 13.25 | 295 | 295.5521
2000-10-21 | 1330 | 1M | 672.4 | W | 295 | 13 | 30 | 13.5 | 295.5625 | 13.5 | 295 | 295.5625
2000-10-21 | 1345 | 1M | 662.4 | W | 295 | 13 | 45 | 13.75 | 295.5729 | 13.75 | 295 | 295.5729
2000-10-21 | 1400 | 1M | 644.9 | W | 295 | 14 | 0 | 14 | 295.5833 | 14 | 295 | 295.5833
2000-10-21 | 1415 | 1M | 619.6 | W | 295 | 14 | 15 | 14.25 | 295.5938 | 14.25 | 295 | 295.5938
2000-10-21 | 1430 | 1M | 606.2 | W | 295 | 14 | 30 | 14.5 | 295.6042 | 14.5 | 295 | 295.6042
2000-10-21 | 1445 | 1M | 556 | W | 295 | 14 | 45 | 14.75 | 295.6146 | 14.75 | 295 | 295.6146
2000-10-21 | 1500 | 1M | 551.7 | W | 295 | 15 | 0 | 15 | 295.625 | 15 | 295 | 295.625
2000-10-21 | 1515 | 1M | 520.4 | W | 295 | 15 | 15 | 15.25 | 295.6354 | 15.25 | 295 | 295.6354
2000-10-21 | 1530 | 1M | 473.5 | W | 295 | 15 | 30 | 15.5 | 295.6458 | 15.5 | 295 | 295.6458
2000-10-21 | 1545 | 1M | 422.1 | W | 295 | 15 | 45 | 15.75 | 295.6562 | 15.75 | 295 | 295.6562
2000-10-21 | 1600 | 1M | 382.8 | W | 295 | 16 | 0 | 16 | 295.6667 | 16 | 295 | 295.6667
2000-10-21 | 1615 | 1M | 330.8 | W | 295 | 16 | 15 | 16.25 | 295.6771 | 16.25 | 295 | 295.6771
2000-10-21 | 1630 | 1M | 293.4 | W | 295 | 16 | 30 | 16.5 | 295.6875 | 16.5 | 295 | 295.6875
2000-10-21 | 1645 | 1M | 245.9 | W | 295 | 16 | 45 | 16.75 | 295.6979 | 16.75 | 295 | 295.6979
2000-10-21 | 1700 | 1M | 198.9 | W | 295 | 17 | 0 | 17 | 295.7083 | 17 | 295 | 295.7083
2000-10-21 | 1715 | 1M | 160.3 | W | 295 | 17 | 15 | 17.25 | 295.7188 | 17.25 | 295 | 295.7188
2000-10-21 | 1730 | 1M | 112.5 | W | 295 | 17 | 30 | 17.5 | 295.7292 | 17.5 | 295 | 295.7292
2000-10-21 | 1745 | 1M | 65.8 | W | 295 | 17 | 45 | 17.75 | 295.7396 | 17.75 | 295 | 295.7396
2000-10-21 | 1800 | 1M | 27.93 | W | 295 | 18 | 0 | 18 | 295.75 | 18 | 295 | 295.75
2000-10-21 | 1815 | 1M | 6.138 | W | 295 | 18 | 15 | 18.25 | 295.7604 | 18.25 | 295 | 295.7604
2000-10-21 | 1830 | 1M | 0.9856 | W | 295 | 18 | 30 | 18.5 | 295.7708 | 18.5 | 295 | 295.7708
2000-10-21 | 1845 | 1M | 0.05854 | W | 295 | 18 | 45 | 18.75 | 295.7812 | 18.75 | 295 | 295.7812
2000-10-21 | 1900 | 1M | 0.002526 | W | 295 | 19 | 0 | 19 | 295.7917 | 19 | 295 | 295.7917
2000-10-21 | 1915 | 1M | 0.0001153 | W | 295 | 19 | 15 | 19.25 | 295.8021 | 19.25 | 295 | 295.8021
2000-10-21 | 1930 | 1M | 0.0001366 | W | 295 | 19 | 30 | 19.5 | 295.8125 | 19.5 | 295 | 295.8125
2000-10-21 | 1945 | 1M | 9.357e-05 | W | 295 | 19 | 45 | 19.75 | 295.8229 | 19.75 | 295 | 295.8229
2000-10-21 | 2000 | 1M | 4.339e-05 | W | 295 | 20 | 0 | 20 | 295.8333 | 20 | 295 | 295.8333
2000-10-21 | 2015 | 1M | 0.0001655 | W | 295 | 20 | 15 | 20.25 | 295.8438 | 20.25 | 295 | 295.8438
2000-10-21 | 2030 | 1M | 1.627e-05 | W | 295 | 20 | 30 | 20.5 | 295.8542 | 20.5 | 295 | 295.8542
2000-10-21 | 2045 | 1M | 0.0001478 | W | 295 | 20 | 45 | 20.75 | 295.8646 | 20.75 | 295 | 295.8646
2000-10-21 | 2100 | 1M | 0.000377 | W | 295 | 21 | 0 | 21 | 295.875 | 21 | 295 | 295.875
2000-10-21 | 2115 | 1M | 0.0001463 | W | 295 | 21 | 15 | 21.25 | 295.8854 | 21.25 | 295 | 295.8854
2000-10-21 | 2130 | 1M | 0.0004421 | W | 295 | 21 | 30 | 21.5 | 295.8958 | 21.5 | 295 | 295.8958
2000-10-21 | 2145 | 1M | 0.0003309 | W | 295 | 21 | 45 | 21.75 | 295.9062 | 21.75 | 295 | 295.9062
2000-10-21 | 2200 | 1M | 0.0001371 | W | 295 | 22 | 0 | 22 | 295.9167 | 22 | 295 | 295.9167
2000-10-21 | 2215 | 1M | 0.0001056 | W | 295 | 22 | 15 | 22.25 | 295.9271 | 22.25 | 295 | 295.9271
2000-10-21 | 2230 | 1M | 0.0001066 | W | 295 | 22 | 30 | 22.5 | 295.9375 | 22.5 | 295 | 295.9375
2000-10-21 | 2245 | 1M | 0.0002005 | W | 295 | 22 | 45 | 22.75 | 295.9479 | 22.75 | 295 | 295.9479
2000-10-21 | 2300 | 1M | 4.204e-05 | W | 295 | 23 | 0 | 23 | 295.9583 | 23 | 295 | 295.9583
2000-10-21 | 2315 | 1M | 0.0001314 | W | 295 | 23 | 15 | 23.25 | 295.9688 | 23.25 | 295 | 295.9688
2000-10-21 | 2330 | 1M | 3.169e-05 | W | 295 | 23 | 30 | 23.5 | 295.9792 | 23.5 | 295 | 295.9792
2000-10-21 | 2345 | 1M | 6.898e-05 | W | 295 | 23 | 45 | 23.75 | 295.9896 | 23.75 | 295 | 295.9896
2000-10-22 | 0 | 1M | 8.135e-06 | W | 296 | 0 | 0 | 0 | 296 | 24 | 295 | 296
2000-10-22 | 15 | 1M | 9.221e-05 | W | 296 | 0 | 15 | 0.25 | 296.0104 | 0.25 | 296 | 296.0104
2000-10-22 | 30 | 1M | 1.61e-05 | W | 296 | 0 | 30 | 0.5 | 296.0208 | 0.5 | 296 | 296.0208
2000-10-22 | 45 | 1M | 8.645e-05 | W | 296 | 0 | 45 | 0.75 | 296.0312 | 0.75 | 296 | 296.0312
2000-10-22 | 100 | 1M | 5.966e-05 | W | 296 | 1 | 0 | 1 | 296.0417 | 1 | 296 | 296.0417
2000-10-22 | 115 | 1M | 0.0001528 | W | 296 | 1 | 15 | 1.25 | 296.0521 | 1.25 | 296 | 296.0521
2000-10-22 | 130 | 1M | 5.712e-05 | W | 296 | 1 | 30 | 1.5 | 296.0625 | 1.5 | 296 | 296.0625
2000-10-22 | 145 | 1M | 0.000128 | W | 296 | 1 | 45 | 1.75 | 296.0729 | 1.75 | 296 | 296.0729
2000-10-22 | 200 | 1M | 9.678e-05 | W | 296 | 2 | 0 | 2 | 296.0833 | 2 | 296 | 296.0833
2000-10-22 | 215 | 1M | 0.0001541 | W | 296 | 2 | 15 | 2.25 | 296.0938 | 2.25 | 296 | 296.0938
2000-10-22 | 230 | 1M | 2.56e-05 | W | 296 | 2 | 30 | 2.5 | 296.1042 | 2.5 | 296 | 296.1042
2000-10-22 | 245 | 1M | 0.0001412 | W | 296 | 2 | 45 | 2.75 | 296.1146 | 2.75 | 296 | 296.1146
2000-10-22 | 300 | 1M | 1.068e-05 | W | 296 | 3 | 0 | 3 | 296.125 | 3 | 296 | 296.125
2000-10-22 | 315 | 1M | 5.153e-05 | W | 296 | 3 | 15 | 3.25 | 296.1354 | 3.25 | 296 | 296.1354
2000-10-22 | 330 | 1M | 3.526e-05 | W | 296 | 3 | 30 | 3.5 | 296.1458 | 3.5 | 296 | 296.1458
2000-10-22 | 345 | 1M | 7.593e-05 | W | 296 | 3 | 45 | 3.75 | 296.1562 | 3.75 | 296 | 296.1562
2000-10-22 | 400 | 1M | 8.238e-05 | W | 296 | 4 | 0 | 4 | 296.1667 | 4 | 296 | 296.1667
2000-10-22 | 415 | 1M | 5.916e-05 | W | 296 | 4 | 15 | 4.25 | 296.1771 | 4.25 | 296 | 296.1771
2000-10-22 | 430 | 1M | 4.051e-05 | W | 296 | 4 | 30 | 4.5 | 296.1875 | 4.5 | 296 | 296.1875
2000-10-22 | 445 | 1M | 0.0001736 | W | 296 | 4 | 45 | 4.75 | 296.1979 | 4.75 | 296 | 296.1979
2000-10-22 | 500 | 1M | 4.628e-05 | W | 296 | 5 | 0 | 5 | 296.2083 | 5 | 296 | 296.2083
2000-10-22 | 515 | 1M | 0.0001628 | W | 296 | 5 | 15 | 5.25 | 296.2188 | 5.25 | 296 | 296.2188
2000-10-22 | 530 | 1M | 0.000197 | W | 296 | 5 | 30 | 5.5 | 296.2292 | 5.5 | 296 | 296.2292
2000-10-22 | 545 | 1M | 4.069e-05 | W | 296 | 5 | 45 | 5.75 | 296.2396 | 5.75 | 296 | 296.2396
2000-10-22 | 600 | 1M | 0.0001655 | W | 296 | 6 | 0 | 6 | 296.25 | 6 | 296 | 296.25
2000-10-22 | 615 | 1M | 4.475e-05 | W | 296 | 6 | 15 | 6.25 | 296.2604 | 6.25 | 296 | 296.2604
2000-10-22 | 630 | 1M | 0.0002251 | W | 296 | 6 | 30 | 6.5 | 296.2708 | 6.5 | 296 | 296.2708
2000-10-22 | 645 | 1M | 0.001415 | W | 296 | 6 | 45 | 6.75 | 296.2812 | 6.75 | 296 | 296.2812
2000-10-22 | 700 | 1M | 0.03267 | W | 296 | 7 | 0 | 7 | 296.2917 | 7 | 296 | 296.2917
2000-10-22 | 715 | 1M | 1.671 | W | 296 | 7 | 15 | 7.25 | 296.3021 | 7.25 | 296 | 296.3021
2000-10-22 | 730 | 1M | 6.278 | W | 296 | 7 | 30 | 7.5 | 296.3125 | 7.5 | 296 | 296.3125
2000-10-22 | 745 | 1M | 18.37 | W | 296 | 7 | 45 | 7.75 | 296.3229 | 7.75 | 296 | 296.3229
2000-10-22 | 800 | 1M | 44.42 | W | 296 | 8 | 0 | 8 | 296.3333 | 8 | 296 | 296.3333
2000-10-22 | 815 | 1M | 108.6 | W | 296 | 8 | 15 | 8.25 | 296.3438 | 8.25 | 296 | 296.3438
2000-10-22 | 830 | 1M | 161.5 | W | 296 | 8 | 30 | 8.5 | 296.3542 | 8.5 | 296 | 296.3542
2000-10-22 | 845 | 1M | 175.8 | W | 296 | 8 | 45 | 8.75 | 296.3646 | 8.75 | 296 | 296.3646
2000-10-22 | 900 | 1M | 220.3 | W | 296 | 9 | 0 | 9 | 296.375 | 9 | 296 | 296.375
2000-10-22 | 915 | 1M | 245.8 | W | 296 | 9 | 15 | 9.25 | 296.3854 | 9.25 | 296 | 296.3854
2000-10-22 | 930 | 1M | 354.2 | W | 296 | 9 | 30 | 9.5 | 296.3958 | 9.5 | 296 | 296.3958
2000-10-22 | 945 | 1M | 429.2 | W | 296 | 9 | 45 | 9.75 | 296.4062 | 9.75 | 296 | 296.4062
2000-10-22 | 1000 | 1M | 443 | W | 296 | 10 | 0 | 10 | 296.4167 | 10 | 296 | 296.4167
2000-10-22 | 1015 | 1M | 495.2 | W | 296 | 10 | 15 | 10.25 | 296.4271 | 10.25 | 296 | 296.4271
2000-10-22 | 1030 | 1M | 527.5 | W | 296 | 10 | 30 | 10.5 | 296.4375 | 10.5 | 296 | 296.4375
2000-10-22 | 1045 | 1M | 566.2 | W | 296 | 10 | 45 | 10.75 | 296.4479 | 10.75 | 296 | 296.4479
2000-10-22 | 1100 | 1M | 593.4 | W | 296 | 11 | 0 | 11 | 296.4583 | 11 | 296 | 296.4583
2000-10-22 | 1115 | 1M | 621.4 | W | 296 | 11 | 15 | 11.25 | 296.4688 | 11.25 | 296 | 296.4688
2000-10-22 | 1130 | 1M | 642.4 | W | 296 | 11 | 30 | 11.5 | 296.4792 | 11.5 | 296 | 296.4792
2000-10-22 | 1145 | 1M | 665.4 | W | 296 | 11 | 45 | 11.75 | 296.4896 | 11.75 | 296 | 296.4896
2000-10-22 | 1200 | 1M | 675.9 | W | 296 | 12 | 0 | 12 | 296.5 | 12 | 296 | 296.5
2000-10-22 | 1215 | 1M | 695.9 | W | 296 | 12 | 15 | 12.25 | 296.5104 | 12.25 | 296 | 296.5104
2000-10-22 | 1230 | 1M | 709.4 | W | 296 | 12 | 30 | 12.5 | 296.5208 | 12.5 | 296 | 296.5208
2000-10-22 | 1245 | 1M | 725.8 | W | 296 | 12 | 45 | 12.75 | 296.5312 | 12.75 | 296 | 296.5312
2000-10-22 | 1300 | 1M | 715.1 | W | 296 | 13 | 0 | 13 | 296.5417 | 13 | 296 | 296.5417
2000-10-22 | 1315 | 1M | 705.6 | W | 296 | 13 | 15 | 13.25 | 296.5521 | 13.25 | 296 | 296.5521
2000-10-22 | 1330 | 1M | 697.8 | W | 296 | 13 | 30 | 13.5 | 296.5625 | 13.5 | 296 | 296.5625
2000-10-22 | 1345 | 1M | 686.4 | W | 296 | 13 | 45 | 13.75 | 296.5729 | 13.75 | 296 | 296.5729
2000-10-22 | 1400 | 1M | 668.6 | W | 296 | 14 | 0 | 14 | 296.5833 | 14 | 296 | 296.5833
2000-10-22 | 1415 | 1M | 649 | W | 296 | 14 | 15 | 14.25 | 296.5938 | 14.25 | 296 | 296.5938
2000-10-22 | 1430 | 1M | 626.2 | W | 296 | 14 | 30 | 14.5 | 296.6042 | 14.5 | 296 | 296.6042
2000-10-22 | 1445 | 1M | 590.1 | W | 296 | 14 | 45 | 14.75 | 296.6146 | 14.75 | 296 | 296.6146
2000-10-22 | 1500 | 1M | 569.8 | W | 296 | 15 | 0 | 15 | 296.625 | 15 | 296 | 296.625
2000-10-22 | 1515 | 1M | 537.2 | W | 296 | 15 | 15 | 15.25 | 296.6354 | 15.25 | 296 | 296.6354
2000-10-22 | 1530 | 1M | 502.2 | W | 296 | 15 | 30 | 15.5 | 296.6458 | 15.5 | 296 | 296.6458
2000-10-22 | 1545 | 1M | 463.3 | W | 296 | 15 | 45 | 15.75 | 296.6562 | 15.75 | 296 | 296.6562
2000-10-22 | 1600 | 1M | 421.9 | W | 296 | 16 | 0 | 16 | 296.6667 | 16 | 296 | 296.6667
2000-10-22 | 1615 | 1M | 378.5 | W | 296 | 16 | 15 | 16.25 | 296.6771 | 16.25 | 296 | 296.6771
2000-10-22 | 1630 | 1M | 332.3 | W | 296 | 16 | 30 | 16.5 | 296.6875 | 16.5 | 296 | 296.6875
2000-10-22 | 1645 | 1M | 284.5 | W | 296 | 16 | 45 | 16.75 | 296.6979 | 16.75 | 296 | 296.6979
2000-10-22 | 1700 | 1M | 237 | W | 296 | 17 | 0 | 17 | 296.7083 | 17 | 296 | 296.7083
2000-10-22 | 1715 | 1M | 190 | W | 296 | 17 | 15 | 17.25 | 296.7188 | 17.25 | 296 | 296.7188
2000-10-22 | 1730 | 1M | 142 | W | 296 | 17 | 30 | 17.5 | 296.7292 | 17.5 | 296 | 296.7292
2000-10-22 | 1745 | 1M | 84.51 | W | 296 | 17 | 45 | 17.75 | 296.7396 | 17.75 | 296 | 296.7396
2000-10-22 | 1800 | 1M | 34.74 | W | 296 | 18 | 0 | 18 | 296.75 | 18 | 296 | 296.75
2000-10-22 | 1815 | 1M | 7.241 | W | 296 | 18 | 15 | 18.25 | 296.7604 | 18.25 | 296 | 296.7604
2000-10-22 | 1830 | 1M | 1.742 | W | 296 | 18 | 30 | 18.5 | 296.7708 | 18.5 | 296 | 296.7708
2000-10-22 | 1845 | 1M | 0.09474 | W | 296 | 18 | 45 | 18.75 | 296.7812 | 18.75 | 296 | 296.7812
2000-10-22 | 1900 | 1M | 0.002465 | W | 296 | 19 | 0 | 19 | 296.7917 | 19 | 296 | 296.7917
2000-10-22 | 1915 | 1M | 0.0001999 | W | 296 | 19 | 15 | 19.25 | 296.8021 | 19.25 | 296 | 296.8021
2000-10-22 | 1930 | 1M | 6.136e-05 | W | 296 | 19 | 30 | 19.5 | 296.8125 | 19.5 | 296 | 296.8125
2000-10-22 | 1945 | 1M | 3.543e-05 | W | 296 | 19 | 45 | 19.75 | 296.8229 | 19.75 | 296 | 296.8229
2000-10-22 | 2000 | 1M | 3.933e-05 | W | 296 | 20 | 0 | 20 | 296.8333 | 20 | 296 | 296.8333
2000-10-22 | 2015 | 1M | 2.831e-05 | W | 296 | 20 | 15 | 20.25 | 296.8438 | 20.25 | 296 | 296.8438
2000-10-22 | 2030 | 1M | 8.865e-05 | W | 296 | 20 | 30 | 20.5 | 296.8542 | 20.5 | 296 | 296.8542
2000-10-22 | 2045 | 1M | 9.203e-05 | W | 296 | 20 | 45 | 20.75 | 296.8646 | 20.75 | 296 | 296.8646
2000-10-22 | 2100 | 1M | 4.814e-05 | W | 296 | 21 | 0 | 21 | 296.875 | 21 | 296 | 296.875
2000-10-22 | 2115 | 1M | 3.373e-05 | W | 296 | 21 | 15 | 21.25 | 296.8854 | 21.25 | 296 | 296.8854
2000-10-22 | 2130 | 1M | 3.594e-05 | W | 296 | 21 | 30 | 21.5 | 296.8958 | 21.5 | 296 | 296.8958
2000-10-22 | 2145 | 1M | 2.543e-05 | W | 296 | 21 | 45 | 21.75 | 296.9062 | 21.75 | 296 | 296.9062
2000-10-22 | 2200 | 1M | 4.188e-05 | W | 296 | 22 | 0 | 22 | 296.9167 | 22 | 296 | 296.9167
2000-10-22 | 2215 | 1M | 2.221e-05 | W | 296 | 22 | 15 | 22.25 | 296.9271 | 22.25 | 296 | 296.9271
2000-10-22 | 2230 | 1M | 3.288e-05 | W | 296 | 22 | 30 | 22.5 | 296.9375 | 22.5 | 296 | 296.9375
2000-10-22 | 2245 | 1M | 8.458e-05 | W | 296 | 22 | 45 | 22.75 | 296.9479 | 22.75 | 296 | 296.9479
2000-10-22 | 2300 | 1M | 4.085e-05 | W | 296 | 23 | 0 | 23 | 296.9583 | 23 | 296 | 296.9583
2000-10-22 | 2315 | 1M | 5.238e-05 | W | 296 | 23 | 15 | 23.25 | 296.9688 | 23.25 | 296 | 296.9688
2000-10-22 | 2330 | 1M | -3.221e-06 | W | 296 | 23 | 30 | 23.5 | 296.9792 | 23.5 | 296 | 296.9792
2000-10-22 | 2345 | 1M | 5.813e-05 | W | 296 | 23 | 45 | 23.75 | 296.9896 | 23.75 | 296 | 296.9896
2000-10-23 | 0 | 1M | 4.373e-05 | W | 297 | 0 | 0 | 0 | 297 | 24 | 296 | 297
2000-10-23 | 15 | 1M | 1.017e-06 | W | 297 | 0 | 15 | 0.25 | 297.0104 | 0.25 | 297 | 297.0104
2000-10-23 | 30 | 1M | 1.271e-05 | W | 297 | 0 | 30 | 0.5 | 297.0208 | 0.5 | 297 | 297.0208
2000-10-23 | 45 | 1M | 8.001e-05 | W | 297 | 0 | 45 | 0.75 | 297.0312 | 0.75 | 297 | 297.0312
2000-10-23 | 100 | 1M | 1.186e-06 | W | 297 | 1 | 0 | 1 | 297.0417 | 1 | 297 | 297.0417
2000-10-23 | 115 | 1M | 1.305e-05 | W | 297 | 1 | 15 | 1.25 | 297.0521 | 1.25 | 297 | 297.0521
2000-10-23 | 130 | 1M | 5.22e-05 | W | 297 | 1 | 30 | 1.5 | 297.0625 | 1.5 | 297 | 297.0625
2000-10-23 | 145 | 1M | 1.627e-05 | W | 297 | 1 | 45 | 1.75 | 297.0729 | 1.75 | 297 | 297.0729
2000-10-23 | 200 | 1M | 4.984e-05 | W | 297 | 2 | 0 | 2 | 297.0833 | 2 | 297 | 297.0833
2000-10-23 | 215 | 1M | 3.323e-05 | W | 297 | 2 | 15 | 2.25 | 297.0938 | 2.25 | 297 | 297.0938
2000-10-23 | 230 | 1M | 0.0001012 | W | 297 | 2 | 30 | 2.5 | 297.1042 | 2.5 | 297 | 297.1042
2000-10-23 | 245 | 1M | -7.457e-06 | W | 297 | 2 | 45 | 2.75 | 297.1146 | 2.75 | 297 | 297.1146
2000-10-23 | 300 | 1M | 3.254e-05 | W | 297 | 3 | 0 | 3 | 297.125 | 3 | 297 | 297.125
2000-10-23 | 315 | 1M | 9.95e-05 | W | 297 | 3 | 15 | 3.25 | 297.1354 | 3.25 | 297 | 297.1354
2000-10-23 | 330 | 1M | -4.068e-06 | W | 297 | 3 | 30 | 3.5 | 297.1458 | 3.5 | 297 | 297.1458
2000-10-23 | 345 | 1M | 4.068e-06 | W | 297 | 3 | 45 | 3.75 | 297.1562 | 3.75 | 297 | 297.1562
2000-10-23 | 400 | 1M | 4.204e-05 | W | 297 | 4 | 0 | 4 | 297.1667 | 4 | 297 | 297.1667
2000-10-23 | 415 | 1M | 4.713e-05 | W | 297 | 4 | 15 | 4.25 | 297.1771 | 4.25 | 297 | 297.1771
2000-10-23 | 430 | 1M | 4.747e-05 | W | 297 | 4 | 30 | 4.5 | 297.1875 | 4.5 | 297 | 297.1875
2000-10-23 | 445 | 1M | -1.017e-06 | W | 297 | 4 | 45 | 4.75 | 297.1979 | 4.75 | 297 | 297.1979
2000-10-23 | 500 | 1M | 3.848e-05 | W | 297 | 5 | 0 | 5 | 297.2083 | 5 | 297 | 297.2083
2000-10-23 | 515 | 1M | 9.203e-05 | W | 297 | 5 | 15 | 5.25 | 297.2188 | 5.25 | 297 | 297.2188
2000-10-23 | 530 | 1M | 9.491e-06 | W | 297 | 5 | 30 | 5.5 | 297.2292 | 5.5 | 297 | 297.2292
2000-10-23 | 545 | 1M | 1.492e-05 | W | 297 | 5 | 45 | 5.75 | 297.2396 | 5.75 | 297 | 297.2396
2000-10-23 | 600 | 1M | 4.339e-05 | W | 297 | 6 | 0 | 6 | 297.25 | 6 | 297 | 297.25
2000-10-23 | 615 | 1M | 3.186e-05 | W | 297 | 6 | 15 | 6.25 | 297.2604 | 6.25 | 297 | 297.2604
2000-10-23 | 630 | 1M | 0.0001673 | W | 297 | 6 | 30 | 6.5 | 297.2708 | 6.5 | 297 | 297.2708
2000-10-23 | 645 | 1M | 0.001453 | W | 297 | 6 | 45 | 6.75 | 297.2812 | 6.75 | 297 | 297.2812
2000-10-23 | 700 | 1M | 0.04147 | W | 297 | 7 | 0 | 7 | 297.2917 | 7 | 297 | 297.2917
2000-10-23 | 715 | 1M | 0.8644 | W | 297 | 7 | 15 | 7.25 | 297.3021 | 7.25 | 297 | 297.3021
2000-10-23 | 730 | 1M | 5.156 | W | 297 | 7 | 30 | 7.5 | 297.3125 | 7.5 | 297 | 297.3125
2000-10-23 | 745 | 1M | 18.06 | W | 297 | 7 | 45 | 7.75 | 297.3229 | 7.75 | 297 | 297.3229
2000-10-23 | 800 | 1M | 64.89 | W | 297 | 8 | 0 | 8 | 297.3333 | 8 | 297 | 297.3333
2000-10-23 | 815 | 1M | 117.7 | W | 297 | 8 | 15 | 8.25 | 297.3438 | 8.25 | 297 | 297.3438
2000-10-23 | 830 | 1M | 166.7 | W | 297 | 8 | 30 | 8.5 | 297.3542 | 8.5 | 297 | 297.3542
2000-10-23 | 845 | 1M | 212.7 | W | 297 | 8 | 45 | 8.75 | 297.3646 | 8.75 | 297 | 297.3646
2000-10-23 | 900 | 1M | 259.6 | W | 297 | 9 | 0 | 9 | 297.375 | 9 | 297 | 297.375
2000-10-23 | 915 | 1M | 306.2 | W | 297 | 9 | 15 | 9.25 | 297.3854 | 9.25 | 297 | 297.3854
2000-10-23 | 930 | 1M | 351.8 | W | 297 | 9 | 30 | 9.5 | 297.3958 | 9.5 | 297 | 297.3958
2000-10-23 | 945 | 1M | 396.3 | W | 297 | 9 | 45 | 9.75 | 297.4062 | 9.75 | 297 | 297.4062
2000-10-23 | 1000 | 1M | 437.6 | W | 297 | 10 | 0 | 10 | 297.4167 | 10 | 297 | 297.4167
2000-10-23 | 1015 | 1M | 476.1 | W | 297 | 10 | 15 | 10.25 | 297.4271 | 10.25 | 297 | 297.4271
2000-10-23 | 1030 | 1M | 512.3 | W | 297 | 10 | 30 | 10.5 | 297.4375 | 10.5 | 297 | 297.4375
2000-10-23 | 1045 | 1M | 545.8 | W | 297 | 10 | 45 | 10.75 | 297.4479 | 10.75 | 297 | 297.4479
2000-10-23 | 1100 | 1M | 575.6 | W | 297 | 11 | 0 | 11 | 297.4583 | 11 | 297 | 297.4583
2000-10-23 | 1115 | 1M | 603.8 | W | 297 | 11 | 15 | 11.25 | 297.4688 | 11.25 | 297 | 297.4688
2000-10-23 | 1130 | 1M | 628.7 | W | 297 | 11 | 30 | 11.5 | 297.4792 | 11.5 | 297 | 297.4792
2000-10-23 | 1145 | 1M | 646.8 | W | 297 | 11 | 45 | 11.75 | 297.4896 | 11.75 | 297 | 297.4896
2000-10-23 | 1200 | 1M | 661.5 | W | 297 | 12 | 0 | 12 | 297.5 | 12 | 297 | 297.5
2000-10-23 | 1215 | 1M | 675.3 | W | 297 | 12 | 15 | 12.25 | 297.5104 | 12.25 | 297 | 297.5104
2000-10-23 | 1230 | 1M | 684.3 | W | 297 | 12 | 30 | 12.5 | 297.5208 | 12.5 | 297 | 297.5208
2000-10-23 | 1245 | 1M | 688.7 | W | 297 | 12 | 45 | 12.75 | 297.5312 | 12.75 | 297 | 297.5312
2000-10-23 | 1300 | 1M | 688.2 | W | 297 | 13 | 0 | 13 | 297.5417 | 13 | 297 | 297.5417
2000-10-23 | 1315 | 1M | 682.6 | W | 297 | 13 | 15 | 13.25 | 297.5521 | 13.25 | 297 | 297.5521
2000-10-23 | 1330 | 1M | 676.1 | W | 297 | 13 | 30 | 13.5 | 297.5625 | 13.5 | 297 | 297.5625
2000-10-23 | 1345 | 1M | 668.3 | W | 297 | 13 | 45 | 13.75 | 297.5729 | 13.75 | 297 | 297.5729
2000-10-23 | 1400 | 1M | 645.4 | W | 297 | 14 | 0 | 14 | 297.5833 | 14 | 297 | 297.5833
2000-10-23 | 1415 | 1M | 631.7 | W | 297 | 14 | 15 | 14.25 | 297.5938 | 14.25 | 297 | 297.5938
2000-10-23 | 1430 | 1M | 608.5 | W | 297 | 14 | 30 | 14.5 | 297.6042 | 14.5 | 297 | 297.6042
2000-10-23 | 1445 | 1M | 581.1 | W | 297 | 14 | 45 | 14.75 | 297.6146 | 14.75 | 297 | 297.6146
2000-10-23 | 1500 | 1M | 552.7 | W | 297 | 15 | 0 | 15 | 297.625 | 15 | 297 | 297.625
2000-10-23 | 1515 | 1M | 520.9 | W | 297 | 15 | 15 | 15.25 | 297.6354 | 15.25 | 297 | 297.6354
2000-10-23 | 1530 | 1M | 484.6 | W | 297 | 15 | 30 | 15.5 | 297.6458 | 15.5 | 297 | 297.6458
2000-10-23 | 1545 | 1M | 444.1 | W | 297 | 15 | 45 | 15.75 | 297.6562 | 15.75 | 297 | 297.6562
2000-10-23 | 1600 | 1M | 388.3 | W | 297 | 16 | 0 | 16 | 297.6667 | 16 | 297 | 297.6667
2000-10-23 | 1615 | 1M | 358.2 | W | 297 | 16 | 15 | 16.25 | 297.6771 | 16.25 | 297 | 297.6771
2000-10-23 | 1630 | 1M | 311.7 | W | 297 | 16 | 30 | 16.5 | 297.6875 | 16.5 | 297 | 297.6875
2000-10-23 | 1645 | 1M | 255.2 | W | 297 | 16 | 45 | 16.75 | 297.6979 | 16.75 | 297 | 297.6979
2000-10-23 | 1700 | 1M | 197 | W | 297 | 17 | 0 | 17 | 297.7083 | 17 | 297 | 297.7083
2000-10-23 | 1715 | 1M | 165.6 | W | 297 | 17 | 15 | 17.25 | 297.7188 | 17.25 | 297 | 297.7188
2000-10-23 | 1730 | 1M | 109.6 | W | 297 | 17 | 30 | 17.5 | 297.7292 | 17.5 | 297 | 297.7292
2000-10-23 | 1745 | 1M | 47.83 | W | 297 | 17 | 45 | 17.75 | 297.7396 | 17.75 | 297 | 297.7396
2000-10-23 | 1800 | 1M | 27.46 | W | 297 | 18 | 0 | 18 | 297.75 | 18 | 297 | 297.75
2000-10-23 | 1815 | 1M | 6.332 | W | 297 | 18 | 15 | 18.25 | 297.7604 | 18.25 | 297 | 297.7604
2000-10-23 | 1830 | 1M | 1.164 | W | 297 | 18 | 30 | 18.5 | 297.7708 | 18.5 | 297 | 297.7708
2000-10-23 | 1845 | 1M | 0.05297 | W | 297 | 18 | 45 | 18.75 | 297.7812 | 18.75 | 297 | 297.7812
2000-10-23 | 1900 | 1M | 0.002738 | W | 297 | 19 | 0 | 19 | 297.7917 | 19 | 297 | 297.7917
2000-10-23 | 1915 | 1M | 0.000293 | W | 297 | 19 | 15 | 19.25 | 297.8021 | 19.25 | 297 | 297.8021
2000-10-23 | 1930 | 1M | 0.0002523 | W | 297 | 19 | 30 | 19.5 | 297.8125 | 19.5 | 297 | 297.8125
2000-10-23 | 1945 | 1M | 0.0002129 | W | 297 | 19 | 45 | 19.75 | 297.8229 | 19.75 | 297 | 297.8229
2000-10-23 | 2000 | 1M | 0.0002428 | W | 297 | 20 | 0 | 20 | 297.8333 | 20 | 297 | 297.8333
2000-10-23 | 2015 | 1M | 0.0001597 | W | 297 | 20 | 15 | 20.25 | 297.8438 | 20.25 | 297 | 297.8438
2000-10-23 | 2030 | 1M | 0.0001458 | W | 297 | 20 | 30 | 20.5 | 297.8542 | 20.5 | 297 | 297.8542
2000-10-23 | 2045 | 1M | 0.0001268 | W | 297 | 20 | 45 | 20.75 | 297.8646 | 20.75 | 297 | 297.8646
2000-10-23 | 2100 | 1M | 9.018e-05 | W | 297 | 21 | 0 | 21 | 297.875 | 21 | 297 | 297.875
2000-10-23 | 2115 | 1M | 2.034e-05 | W | 297 | 21 | 15 | 21.25 | 297.8854 | 21.25 | 297 | 297.8854
2000-10-23 | 2130 | 1M | 0.0001424 | W | 297 | 21 | 30 | 21.5 | 297.8958 | 21.5 | 297 | 297.8958
2000-10-23 | 2145 | 1M | 2.441e-05 | W | 297 | 21 | 45 | 21.75 | 297.9062 | 21.75 | 297 | 297.9062
2000-10-23 | 2200 | 1M | 8.272e-05 | W | 297 | 22 | 0 | 22 | 297.9167 | 22 | 297 | 297.9167
2000-10-23 | 2215 | 1M | 0.0001273 | W | 297 | 22 | 15 | 22.25 | 297.9271 | 22.25 | 297 | 297.9271
2000-10-23 | 2230 | 1M | 0.0001139 | W | 297 | 22 | 30 | 22.5 | 297.9375 | 22.5 | 297 | 297.9375
2000-10-23 | 2245 | 1M | 0.0001153 | W | 297 | 22 | 45 | 22.75 | 297.9479 | 22.75 | 297 | 297.9479
2000-10-23 | 2300 | 1M | 0.0001855 | W | 297 | 23 | 0 | 23 | 297.9583 | 23 | 297 | 297.9583
2000-10-23 | 2315 | 1M | 3.391e-05 | W | 297 | 23 | 15 | 23.25 | 297.9688 | 23.25 | 297 | 297.9688
2000-10-23 | 2330 | 1M | 0.0001214 | W | 297 | 23 | 30 | 23.5 | 297.9792 | 23.5 | 297 | 297.9792
2000-10-23 | 2345 | 1M | 0.0002414 | W | 297 | 23 | 45 | 23.75 | 297.9896 | 23.75 | 297 | 297.9896
2000-10-24 | 0 | 1M | 0.0002116 | W | 298 | 0 | 0 | 0 | 298 | 24 | 297 | 298
2000-10-24 | 15 | 1M | 0.0004041 | W | 298 | 0 | 15 | 0.25 | 298.0104 | 0.25 | 298 | 298.0104
2000-10-24 | 30 | 1M | 0.0005098 | W | 298 | 0 | 30 | 0.5 | 298.0208 | 0.5 | 298 | 298.0208
2000-10-24 | 45 | 1M | 0.0004747 | W | 298 | 0 | 45 | 0.75 | 298.0312 | 0.75 | 298 | 298.0312
2000-10-24 | 100 | 1M | 0.0005004 | W | 298 | 1 | 0 | 1 | 298.0417 | 1 | 298 | 298.0417
2000-10-24 | 115 | 1M | 0.0005098 | W | 298 | 1 | 15 | 1.25 | 298.0521 | 1.25 | 298 | 298.0521
2000-10-24 | 130 | 1M | 0.0005045 | W | 298 | 1 | 30 | 1.5 | 298.0625 | 1.5 | 298 | 298.0625
2000-10-24 | 145 | 1M | 0.0005031 | W | 298 | 1 | 45 | 1.75 | 298.0729 | 1.75 | 298 | 298.0729
2000-10-24 | 200 | 1M | 0.0003201 | W | 298 | 2 | 0 | 2 | 298.0833 | 2 | 298 | 298.0833
2000-10-24 | 215 | 1M | 0.0002657 | W | 298 | 2 | 15 | 2.25 | 298.0938 | 2.25 | 298 | 298.0938
2000-10-24 | 230 | 1M | 0.0002644 | W | 298 | 2 | 30 | 2.5 | 298.1042 | 2.5 | 298 | 298.1042
2000-10-24 | 245 | 1M | 0.0002129 | W | 298 | 2 | 45 | 2.75 | 298.1146 | 2.75 | 298 | 298.1146
2000-10-24 | 300 | 1M | 4.932e-05 | W | 298 | 3 | 0 | 3 | 298.125 | 3 | 298 | 298.125
2000-10-24 | 315 | 1M | 1.271e-05 | W | 298 | 3 | 15 | 3.25 | 298.1354 | 3.25 | 298 | 298.1354
2000-10-24 | 330 | 1M | 0.0001243 | W | 298 | 3 | 30 | 3.5 | 298.1458 | 3.5 | 298 | 298.1458
2000-10-24 | 345 | 1M | 0.0001227 | W | 298 | 3 | 45 | 3.75 | 298.1562 | 3.75 | 298 | 298.1562
2000-10-24 | 400 | 1M | 6.95e-06 | W | 298 | 4 | 0 | 4 | 298.1667 | 4 | 298 | 298.1667
2000-10-24 | 415 | 1M | 0 | W | 298 | 4 | 15 | 4.25 | 298.1771 | 4.25 | 298 | 298.1771
2000-10-24 | 430 | 1M | 3.509e-05 | W | 298 | 4 | 30 | 4.5 | 298.1875 | 4.5 | 298 | 298.1875
2000-10-24 | 445 | 1M | 8.95e-05 | W | 298 | 4 | 45 | 4.75 | 298.1979 | 4.75 | 298 | 298.1979
2000-10-24 | 500 | 1M | 0.0003201 | W | 298 | 5 | 0 | 5 | 298.2083 | 5 | 298 | 298.2083
2000-10-24 | 515 | 1M | 0.0003336 | W | 298 | 5 | 15 | 5.25 | 298.2188 | 5.25 | 298 | 298.2188
2000-10-24 | 530 | 1M | 0.0003391 | W | 298 | 5 | 30 | 5.5 | 298.2292 | 5.5 | 298 | 298.2292
2000-10-24 | 545 | 1M | 0.0003323 | W | 298 | 5 | 45 | 5.75 | 298.2396 | 5.75 | 298 | 298.2396
2000-10-24 | 600 | 1M | 0.0002088 | W | 298 | 6 | 0 | 6 | 298.25 | 6 | 298 | 298.25
2000-10-24 | 615 | 1M | 0.0001614 | W | 298 | 6 | 15 | 6.25 | 298.2604 | 6.25 | 298 | 298.2604
2000-10-24 | 630 | 1M | 0.0001329 | W | 298 | 6 | 30 | 6.5 | 298.2708 | 6.5 | 298 | 298.2708
2000-10-24 | 645 | 1M | 0.0009291 | W | 298 | 6 | 45 | 6.75 | 298.2812 | 6.75 | 298 | 298.2812
2000-10-24 | 700 | 1M | 0.01623 | W | 298 | 7 | 0 | 7 | 298.2917 | 7 | 298 | 298.2917
2000-10-24 | 715 | 1M | 0.6128 | W | 298 | 7 | 15 | 7.25 | 298.3021 | 7.25 | 298 | 298.3021
2000-10-24 | 730 | 1M | 3.692 | W | 298 | 7 | 30 | 7.5 | 298.3125 | 7.5 | 298 | 298.3125
2000-10-24 | 745 | 1M | 16.55 | W | 298 | 7 | 45 | 7.75 | 298.3229 | 7.75 | 298 | 298.3229
2000-10-24 | 800 | 1M | 60.66 | W | 298 | 8 | 0 | 8 | 298.3333 | 8 | 298 | 298.3333
2000-10-24 | 815 | 1M | 67.44 | W | 298 | 8 | 15 | 8.25 | 298.3438 | 8.25 | 298 | 298.3438
2000-10-24 | 830 | 1M | 147.4 | W | 298 | 8 | 30 | 8.5 | 298.3542 | 8.5 | 298 | 298.3542
2000-10-24 | 845 | 1M | 184.8 | W | 298 | 8 | 45 | 8.75 | 298.3646 | 8.75 | 298 | 298.3646
2000-10-24 | 900 | 1M | 169.2 | W | 298 | 9 | 0 | 9 | 298.375 | 9 | 298 | 298.375
2000-10-24 | 915 | 1M | 141.6 | W | 298 | 9 | 15 | 9.25 | 298.3854 | 9.25 | 298 | 298.3854
2000-10-24 | 930 | 1M | 133.7 | W | 298 | 9 | 30 | 9.5 | 298.3958 | 9.5 | 298 | 298.3958
2000-10-24 | 945 | 1M | 240.6 | W | 298 | 9 | 45 | 9.75 | 298.4062 | 9.75 | 298 | 298.4062
2000-10-24 | 1000 | 1M | 386.7 | W | 298 | 10 | 0 | 10 | 298.4167 | 10 | 298 | 298.4167
2000-10-24 | 1015 | 1M | 433.1 | W | 298 | 10 | 15 | 10.25 | 298.4271 | 10.25 | 298 | 298.4271
2000-10-24 | 1030 | 1M | 482.2 | W | 298 | 10 | 30 | 10.5 | 298.4375 | 10.5 | 298 | 298.4375
2000-10-24 | 1045 | 1M | 472.8 | W | 298 | 10 | 45 | 10.75 | 298.4479 | 10.75 | 298 | 298.4479
2000-10-24 | 1100 | 1M | 526 | W | 298 | 11 | 0 | 11 | 298.4583 | 11 | 298 | 298.4583
2000-10-24 | 1115 | 1M | 535 | W | 298 | 11 | 15 | 11.25 | 298.4688 | 11.25 | 298 | 298.4688
2000-10-24 | 1130 | 1M | 493.4 | W | 298 | 11 | 30 | 11.5 | 298.4792 | 11.5 | 298 | 298.4792
2000-10-24 | 1145 | 1M | 533.4 | W | 298 | 11 | 45 | 11.75 | 298.4896 | 11.75 | 298 | 298.4896
2000-10-24 | 1200 | 1M | 511.3 | W | 298 | 12 | 0 | 12 | 298.5 | 12 | 298 | 298.5
2000-10-24 | 1215 | 1M | 472.5 | W | 298 | 12 | 15 | 12.25 | 298.5104 | 12.25 | 298 | 298.5104
2000-10-24 | 1230 | 1M | 406.5 | W | 298 | 12 | 30 | 12.5 | 298.5208 | 12.5 | 298 | 298.5208
2000-10-24 | 1245 | 1M | 497.6 | W | 298 | 12 | 45 | 12.75 | 298.5312 | 12.75 | 298 | 298.5312
2000-10-24 | 1300 | 1M | 331.3 | W | 298 | 13 | 0 | 13 | 298.5417 | 13 | 298 | 298.5417
2000-10-24 | 1315 | 1M | 568.5 | W | 298 | 13 | 15 | 13.25 | 298.5521 | 13.25 | 298 | 298.5521
2000-10-24 | 1330 | 1M | 569.2 | W | 298 | 13 | 30 | 13.5 | 298.5625 | 13.5 | 298 | 298.5625
2000-10-24 | 1345 | 1M | 614.3 | W | 298 | 13 | 45 | 13.75 | 298.5729 | 13.75 | 298 | 298.5729
2000-10-24 | 1400 | 1M | 613.7 | W | 298 | 14 | 0 | 14 | 298.5833 | 14 | 298 | 298.5833
2000-10-24 | 1415 | 1M | 588.7 | W | 298 | 14 | 15 | 14.25 | 298.5938 | 14.25 | 298 | 298.5938
2000-10-24 | 1430 | 1M | 616.5 | W | 298 | 14 | 30 | 14.5 | 298.6042 | 14.5 | 298 | 298.6042
2000-10-24 | 1445 | 1M | 609.2 | W | 298 | 14 | 45 | 14.75 | 298.6146 | 14.75 | 298 | 298.6146
2000-10-24 | 1500 | 1M | 492.8 | W | 298 | 15 | 0 | 15 | 298.625 | 15 | 298 | 298.625
2000-10-24 | 1515 | 1M | 369.1 | W | 298 | 15 | 15 | 15.25 | 298.6354 | 15.25 | 298 | 298.6354
2000-10-24 | 1530 | 1M | 295.1 | W | 298 | 15 | 30 | 15.5 | 298.6458 | 15.5 | 298 | 298.6458
2000-10-24 | 1545 | 1M | 267 | W | 298 | 15 | 45 | 15.75 | 298.6562 | 15.75 | 298 | 298.6562
2000-10-24 | 1600 | 1M | 210.1 | W | 298 | 16 | 0 | 16 | 298.6667 | 16 | 298 | 298.6667
2000-10-24 | 1615 | 1M | 127.5 | W | 298 | 16 | 15 | 16.25 | 298.6771 | 16.25 | 298 | 298.6771
2000-10-24 | 1630 | 1M | 67.74 | W | 298 | 16 | 30 | 16.5 | 298.6875 | 16.5 | 298 | 298.6875
2000-10-24 | 1645 | 1M | 70.51 | W | 298 | 16 | 45 | 16.75 | 298.6979 | 16.75 | 298 | 298.6979
2000-10-24 | 1700 | 1M | 44.81 | W | 298 | 17 | 0 | 17 | 298.7083 | 17 | 298 | 298.7083
2000-10-24 | 1715 | 1M | 29.65 | W | 298 | 17 | 15 | 17.25 | 298.7188 | 17.25 | 298 | 298.7188
2000-10-24 | 1730 | 1M | 27.62 | W | 298 | 17 | 30 | 17.5 | 298.7292 | 17.5 | 298 | 298.7292
2000-10-24 | 1745 | 1M | 53.2 | W | 298 | 17 | 45 | 17.75 | 298.7396 | 17.75 | 298 | 298.7396
2000-10-24 | 1800 | 1M | 11.91 | W | 298 | 18 | 0 | 18 | 298.75 | 18 | 298 | 298.75
2000-10-24 | 1815 | 1M | 2.029 | W | 298 | 18 | 15 | 18.25 | 298.7604 | 18.25 | 298 | 298.7604
2000-10-24 | 1830 | 1M | 0.3138 | W | 298 | 18 | 30 | 18.5 | 298.7708 | 18.5 | 298 | 298.7708
2000-10-24 | 1845 | 1M | 0.01988 | W | 298 | 18 | 45 | 18.75 | 298.7812 | 18.75 | 298 | 298.7812
2000-10-24 | 1900 | 1M | 0.001028 | W | 298 | 19 | 0 | 19 | 298.7917 | 19 | 298 | 298.7917
2000-10-24 | 1915 | 1M | 0.0002644 | W | 298 | 19 | 15 | 19.25 | 298.8021 | 19.25 | 298 | 298.8021
2000-10-24 | 1930 | 1M | 0.0002509 | W | 298 | 19 | 30 | 19.5 | 298.8125 | 19.5 | 298 | 298.8125
2000-10-24 | 1945 | 1M | 0.0001926 | W | 298 | 19 | 45 | 19.75 | 298.8229 | 19.75 | 298 | 298.8229
2000-10-24 | 2000 | 1M | 0.0001849 | W | 298 | 20 | 0 | 20 | 298.8333 | 20 | 298 | 298.8333
2000-10-24 | 2015 | 1M | 0.0002523 | W | 298 | 20 | 15 | 20.25 | 298.8438 | 20.25 | 298 | 298.8438
2000-10-24 | 2030 | 1M | 0.0001558 | W | 298 | 20 | 30 | 20.5 | 298.8542 | 20.5 | 298 | 298.8542
2000-10-24 | 2045 | 1M | 0.0002197 | W | 298 | 20 | 45 | 20.75 | 298.8646 | 20.75 | 298 | 298.8646
2000-10-24 | 2100 | 1M | 0.0002336 | W | 298 | 21 | 0 | 21 | 298.875 | 21 | 298 | 298.875
2000-10-24 | 2115 | 1M | 0.0001617 | W | 298 | 21 | 15 | 21.25 | 298.8854 | 21.25 | 298 | 298.8854
2000-10-24 | 2130 | 1M | 3.848e-05 | W | 298 | 21 | 30 | 21.5 | 298.8958 | 21.5 | 298 | 298.8958
2000-10-24 | 2145 | 1M | 0.0001628 | W | 298 | 21 | 45 | 21.75 | 298.9062 | 21.75 | 298 | 298.9062
2000-10-24 | 2200 | 1M | 0.0002083 | W | 298 | 22 | 0 | 22 | 298.9167 | 22 | 298 | 298.9167
2000-10-24 | 2215 | 1M | 3.729e-05 | W | 298 | 22 | 15 | 22.25 | 298.9271 | 22.25 | 298 | 298.9271
2000-10-24 | 2230 | 1M | 7.797e-06 | W | 298 | 22 | 30 | 22.5 | 298.9375 | 22.5 | 298 | 298.9375
2000-10-24 | 2245 | 1M | 4.068e-06 | W | 298 | 22 | 45 | 22.75 | 298.9479 | 22.75 | 298 | 298.9479
2000-10-24 | 2300 | 1M | 4.339e-05 | W | 298 | 23 | 0 | 23 | 298.9583 | 23 | 298 | 298.9583
2000-10-24 | 2315 | 1M | 0.0001166 | W | 298 | 23 | 15 | 23.25 | 298.9688 | 23.25 | 298 | 298.9688
2000-10-24 | 2330 | 1M | 0.0001951 | W | 298 | 23 | 30 | 23.5 | 298.9792 | 23.5 | 298 | 298.9792
2000-10-24 | 2345 | 1M | 5.101e-05 | W | 298 | 23 | 45 | 23.75 | 298.9896 | 23.75 | 298 | 298.9896
2000-10-25 | 0 | 1M | 2.712e-06 | W | 299 | 0 | 0 | 0 | 299 | 24 | 298 | 299
2000-10-25 | 15 | 1M | 5.56e-05 | W | 299 | 0 | 15 | 0.25 | 299.0104 | 0.25 | 299 | 299.0104
2000-10-25 | 30 | 1M | 0.0001382 | W | 299 | 0 | 30 | 0.5 | 299.0208 | 0.5 | 299 | 299.0208
2000-10-25 | 45 | 1M | 2.17e-05 | W | 299 | 0 | 45 | 0.75 | 299.0312 | 0.75 | 299 | 299.0312
2000-10-25 | 100 | 1M | 4.068e-06 | W | 299 | 1 | 0 | 1 | 299.0417 | 1 | 299 | 299.0417
2000-10-25 | 115 | 1M | 3.526e-05 | W | 299 | 1 | 15 | 1.25 | 299.0521 | 1.25 | 299 | 299.0521
2000-10-25 | 130 | 1M | 0.0001393 | W | 299 | 1 | 30 | 1.5 | 299.0625 | 1.5 | 299 | 299.0625
2000-10-25 | 145 | 1M | 0.0002304 | W | 299 | 1 | 45 | 1.75 | 299.0729 | 1.75 | 299 | 299.0729
2000-10-25 | 200 | 1M | 0.0001287 | W | 299 | 2 | 0 | 2 | 299.0833 | 2 | 299 | 299.0833
2000-10-25 | 215 | 1M | 1.492e-05 | W | 299 | 2 | 15 | 2.25 | 299.0938 | 2.25 | 299 | 299.0938
2000-10-25 | 230 | 1M | 4.475e-05 | W | 299 | 2 | 30 | 2.5 | 299.1042 | 2.5 | 299 | 299.1042
2000-10-25 | 245 | 1M | 0.0001134 | W | 299 | 2 | 45 | 2.75 | 299.1146 | 2.75 | 299 | 299.1146
2000-10-25 | 300 | 1M | 8.001e-05 | W | 299 | 3 | 0 | 3 | 299.125 | 3 | 299 | 299.125
2000-10-25 | 315 | 1M | 4.713e-05 | W | 299 | 3 | 15 | 3.25 | 299.1354 | 3.25 | 299 | 299.1354
2000-10-25 | 330 | 1M | 8.476e-06 | W | 299 | 3 | 30 | 3.5 | 299.1458 | 3.5 | 299 | 299.1458
2000-10-25 | 345 | 1M | 3.288e-05 | W | 299 | 3 | 45 | 3.75 | 299.1562 | 3.75 | 299 | 299.1562
2000-10-25 | 400 | 1M | 8.645e-05 | W | 299 | 4 | 0 | 4 | 299.1667 | 4 | 299 | 299.1667
2000-10-25 | 415 | 1M | 7.813e-05 | W | 299 | 4 | 15 | 4.25 | 299.1771 | 4.25 | 299 | 299.1771
2000-10-25 | 430 | 1M | 9.357e-05 | W | 299 | 4 | 30 | 4.5 | 299.1875 | 4.5 | 299 | 299.1875
2000-10-25 | 445 | 1M | 0.0001736 | W | 299 | 4 | 45 | 4.75 | 299.1979 | 4.75 | 299 | 299.1979
2000-10-25 | 500 | 1M | 0.0001241 | W | 299 | 5 | 0 | 5 | 299.2083 | 5 | 299 | 299.2083
2000-10-25 | 515 | 1M | 3.339e-05 | W | 299 | 5 | 15 | 5.25 | 299.2188 | 5.25 | 299 | 299.2188
2000-10-25 | 530 | 1M | 0 | W | 299 | 5 | 30 | 5.5 | 299.2292 | 5.5 | 299 | 299.2292
2000-10-25 | 545 | 1M | 1.916e-05 | W | 299 | 5 | 45 | 5.75 | 299.2396 | 5.75 | 299 | 299.2396
2000-10-25 | 600 | 1M | 5.781e-05 | W | 299 | 6 | 0 | 6 | 299.25 | 6 | 299 | 299.25
2000-10-25 | 615 | 1M | 0.0001841 | W | 299 | 6 | 15 | 6.25 | 299.2604 | 6.25 | 299 | 299.2604
2000-10-25 | 630 | 1M | 0.0002358 | W | 299 | 6 | 30 | 6.5 | 299.2708 | 6.5 | 299 | 299.2708
2000-10-25 | 645 | 1M | 0.001036 | W | 299 | 6 | 45 | 6.75 | 299.2812 | 6.75 | 299 | 299.2812
2000-10-25 | 700 | 1M | 0.0214 | W | 299 | 7 | 0 | 7 | 299.2917 | 7 | 299 | 299.2917
2000-10-25 | 715 | 1M | 0.5299 | W | 299 | 7 | 15 | 7.25 | 299.3021 | 7.25 | 299 | 299.3021
2000-10-25 | 730 | 1M | 3.588 | W | 299 | 7 | 30 | 7.5 | 299.3125 | 7.5 | 299 | 299.3125
2000-10-25 | 745 | 1M | 13.04 | W | 299 | 7 | 45 | 7.75 | 299.3229 | 7.75 | 299 | 299.3229
2000-10-25 | 800 | 1M | 41.46 | W | 299 | 8 | 0 | 8 | 299.3333 | 8 | 299 | 299.3333
2000-10-25 | 815 | 1M | 86.48 | W | 299 | 8 | 15 | 8.25 | 299.3438 | 8.25 | 299 | 299.3438
2000-10-25 | 830 | 1M | 135.9 | W | 299 | 8 | 30 | 8.5 | 299.3542 | 8.5 | 299 | 299.3542
2000-10-25 | 845 | 1M | 169.9 | W | 299 | 8 | 45 | 8.75 | 299.3646 | 8.75 | 299 | 299.3646
2000-10-25 | 900 | 1M | 208.6 | W | 299 | 9 | 0 | 9 | 299.375 | 9 | 299 | 299.375
2000-10-25 | 915 | 1M | 253.8 | W | 299 | 9 | 15 | 9.25 | 299.3854 | 9.25 | 299 | 299.3854
2000-10-25 | 930 | 1M | 299.3 | W | 299 | 9 | 30 | 9.5 | 299.3958 | 9.5 | 299 | 299.3958
2000-10-25 | 945 | 1M | 345.7 | W | 299 | 9 | 45 | 9.75 | 299.4062 | 9.75 | 299 | 299.4062
2000-10-25 | 1000 | 1M | 385 | W | 299 | 10 | 0 | 10 | 299.4167 | 10 | 299 | 299.4167
2000-10-25 | 1015 | 1M | 421.2 | W | 299 | 10 | 15 | 10.25 | 299.4271 | 10.25 | 299 | 299.4271
2000-10-25 | 1030 | 1M | 452.1 | W | 299 | 10 | 30 | 10.5 | 299.4375 | 10.5 | 299 | 299.4375
2000-10-25 | 1045 | 1M | 479.8 | W | 299 | 10 | 45 | 10.75 | 299.4479 | 10.75 | 299 | 299.4479
2000-10-25 | 1100 | 1M | 511.5 | W | 299 | 11 | 0 | 11 | 299.4583 | 11 | 299 | 299.4583
2000-10-25 | 1115 | 1M | 549.5 | W | 299 | 11 | 15 | 11.25 | 299.4688 | 11.25 | 299 | 299.4688
2000-10-25 | 1130 | 1M | 506.1 | W | 299 | 11 | 30 | 11.5 | 299.4792 | 11.5 | 299 | 299.4792
2000-10-25 | 1145 | 1M | 623.6 | W | 299 | 11 | 45 | 11.75 | 299.4896 | 11.75 | 299 | 299.4896
2000-10-25 | 1200 | 1M | 598.4 | W | 299 | 12 | 0 | 12 | 299.5 | 12 | 299 | 299.5
2000-10-25 | 1215 | 1M | 610.8 | W | 299 | 12 | 15 | 12.25 | 299.5104 | 12.25 | 299 | 299.5104
2000-10-25 | 1230 | 1M | 625 | W | 299 | 12 | 30 | 12.5 | 299.5208 | 12.5 | 299 | 299.5208
2000-10-25 | 1245 | 1M | 629 | W | 299 | 12 | 45 | 12.75 | 299.5312 | 12.75 | 299 | 299.5312
2000-10-25 | 1300 | 1M | 628.5 | W | 299 | 13 | 0 | 13 | 299.5417 | 13 | 299 | 299.5417
2000-10-25 | 1315 | 1M | 629.2 | W | 299 | 13 | 15 | 13.25 | 299.5521 | 13.25 | 299 | 299.5521
2000-10-25 | 1330 | 1M | 623.8 | W | 299 | 13 | 30 | 13.5 | 299.5625 | 13.5 | 299 | 299.5625
2000-10-25 | 1345 | 1M | 613 | W | 299 | 13 | 45 | 13.75 | 299.5729 | 13.75 | 299 | 299.5729
2000-10-25 | 1400 | 1M | 604.8 | W | 299 | 14 | 0 | 14 | 299.5833 | 14 | 299 | 299.5833
2000-10-25 | 1415 | 1M | 585.4 | W | 299 | 14 | 15 | 14.25 | 299.5938 | 14.25 | 299 | 299.5938
2000-10-25 | 1430 | 1M | 566.2 | W | 299 | 14 | 30 | 14.5 | 299.6042 | 14.5 | 299 | 299.6042
2000-10-25 | 1445 | 1M | 541 | W | 299 | 14 | 45 | 14.75 | 299.6146 | 14.75 | 299 | 299.6146
2000-10-25 | 1500 | 1M | 510.2 | W | 299 | 15 | 0 | 15 | 299.625 | 15 | 299 | 299.625
2000-10-25 | 1515 | 1M | 454.7 | W | 299 | 15 | 15 | 15.25 | 299.6354 | 15.25 | 299 | 299.6354
2000-10-25 | 1530 | 1M | 447.8 | W | 299 | 15 | 30 | 15.5 | 299.6458 | 15.5 | 299 | 299.6458
2000-10-25 | 1545 | 1M | 409.1 | W | 299 | 15 | 45 | 15.75 | 299.6562 | 15.75 | 299 | 299.6562
2000-10-25 | 1600 | 1M | 367.6 | W | 299 | 16 | 0 | 16 | 299.6667 | 16 | 299 | 299.6667
2000-10-25 | 1615 | 1M | 330.3 | W | 299 | 16 | 15 | 16.25 | 299.6771 | 16.25 | 299 | 299.6771
2000-10-25 | 1630 | 1M | 287.2 | W | 299 | 16 | 30 | 16.5 | 299.6875 | 16.5 | 299 | 299.6875
2000-10-25 | 1645 | 1M | 247.8 | W | 299 | 16 | 45 | 16.75 | 299.6979 | 16.75 | 299 | 299.6979
2000-10-25 | 1700 | 1M | 192.2 | W | 299 | 17 | 0 | 17 | 299.7083 | 17 | 299 | 299.7083
2000-10-25 | 1715 | 1M | 145.8 | W | 299 | 17 | 15 | 17.25 | 299.7188 | 17.25 | 299 | 299.7188
2000-10-25 | 1730 | 1M | 101.3 | W | 299 | 17 | 30 | 17.5 | 299.7292 | 17.5 | 299 | 299.7292
2000-10-25 | 1745 | 1M | 53.25 | W | 299 | 17 | 45 | 17.75 | 299.7396 | 17.75 | 299 | 299.7396
2000-10-25 | 1800 | 1M | 18.4 | W | 299 | 18 | 0 | 18 | 299.75 | 18 | 299 | 299.75
2000-10-25 | 1815 | 1M | 4.692 | W | 299 | 18 | 15 | 18.25 | 299.7604 | 18.25 | 299 | 299.7604
2000-10-25 | 1830 | 1M | 0.8686 | W | 299 | 18 | 30 | 18.5 | 299.7708 | 18.5 | 299 | 299.7708
2000-10-25 | 1845 | 1M | 0.03802 | W | 299 | 18 | 45 | 18.75 | 299.7812 | 18.75 | 299 | 299.7812
2000-10-25 | 1900 | 1M | 0.001137 | W | 299 | 19 | 0 | 19 | 299.7917 | 19 | 299 | 299.7917
2000-10-25 | 1915 | 1M | 0.0002021 | W | 299 | 19 | 15 | 19.25 | 299.8021 | 19.25 | 299 | 299.8021
2000-10-25 | 1930 | 1M | 0.0001872 | W | 299 | 19 | 30 | 19.5 | 299.8125 | 19.5 | 299 | 299.8125
2000-10-25 | 1945 | 1M | 0.0001944 | W | 299 | 19 | 45 | 19.75 | 299.8229 | 19.75 | 299 | 299.8229
2000-10-25 | 2000 | 1M | 0.000118 | W | 299 | 20 | 0 | 20 | 299.8333 | 20 | 299 | 299.8333
2000-10-25 | 2015 | 1M | 0.0001295 | W | 299 | 20 | 15 | 20.25 | 299.8438 | 20.25 | 299 | 299.8438
2000-10-25 | 2030 | 1M | 0.000111 | W | 299 | 20 | 30 | 20.5 | 299.8542 | 20.5 | 299 | 299.8542
2000-10-25 | 2045 | 1M | 0.000156 | W | 299 | 20 | 45 | 20.75 | 299.8646 | 20.75 | 299 | 299.8646
2000-10-25 | 2100 | 1M | 5.695e-05 | W | 299 | 21 | 0 | 21 | 299.875 | 21 | 299 | 299.875
2000-10-25 | 2115 | 1M | 0.0001505 | W | 299 | 21 | 15 | 21.25 | 299.8854 | 21.25 | 299 | 299.8854
2000-10-25 | 2130 | 1M | 7.865e-05 | W | 299 | 21 | 30 | 21.5 | 299.8958 | 21.5 | 299 | 299.8958
2000-10-25 | 2145 | 1M | 0.0001048 | W | 299 | 21 | 45 | 21.75 | 299.9062 | 21.75 | 299 | 299.9062
2000-10-25 | 2200 | 1M | 0.0001231 | W | 299 | 22 | 0 | 22 | 299.9167 | 22 | 299 | 299.9167
2000-10-25 | 2215 | 1M | 0.0001992 | W | 299 | 22 | 15 | 22.25 | 299.9271 | 22.25 | 299 | 299.9271
2000-10-25 | 2230 | 1M | 0.0001265 | W | 299 | 22 | 30 | 22.5 | 299.9375 | 22.5 | 299 | 299.9375
2000-10-25 | 2245 | 1M | 4.034e-05 | W | 299 | 22 | 45 | 22.75 | 299.9479 | 22.75 | 299 | 299.9479
2000-10-25 | 2300 | 1M | 0.0001758 | W | 299 | 23 | 0 | 23 | 299.9583 | 23 | 299 | 299.9583
2000-10-25 | 2315 | 1M | 0.0001698 | W | 299 | 23 | 15 | 23.25 | 299.9688 | 23.25 | 299 | 299.9688
2000-10-25 | 2330 | 1M | 3.389e-07 | W | 299 | 23 | 30 | 23.5 | 299.9792 | 23.5 | 299 | 299.9792
2000-10-25 | 2345 | 1M | 7.95e-05 | W | 299 | 23 | 45 | 23.75 | 299.9896 | 23.75 | 299 | 299.9896
2000-10-26 | 0 | 1M | 0.0002233 | W | 300 | 0 | 0 | 0 | 300 | 24 | 299 | 300
2000-10-26 | 15 | 1M | 2.526e-05 | W | 300 | 0 | 15 | 0.25 | 300.0104 | 0.25 | 300 | 300.0104
2000-10-26 | 30 | 1M | 2.034e-05 | W | 300 | 0 | 30 | 0.5 | 300.0208 | 0.5 | 300 | 300.0208
2000-10-26 | 45 | 1M | 0.000127 | W | 300 | 0 | 45 | 0.75 | 300.0312 | 0.75 | 300 | 300.0312
2000-10-26 | 100 | 1M | 2.221e-05 | W | 300 | 1 | 0 | 1 | 300.0417 | 1 | 300 | 300.0417
2000-10-26 | 115 | 1M | 4.069e-05 | W | 300 | 1 | 15 | 1.25 | 300.0521 | 1.25 | 300 | 300.0521
2000-10-26 | 130 | 1M | 6.492e-05 | W | 300 | 1 | 30 | 1.5 | 300.0625 | 1.5 | 300 | 300.0625
2000-10-26 | 145 | 1M | 2.577e-05 | W | 300 | 1 | 45 | 1.75 | 300.0729 | 1.75 | 300 | 300.0729
2000-10-26 | 200 | 1M | 6.778e-06 | W | 300 | 2 | 0 | 2 | 300.0833 | 2 | 300 | 300.0833
2000-10-26 | 215 | 1M | 8.645e-05 | W | 300 | 2 | 15 | 2.25 | 300.0938 | 2.25 | 300 | 300.0938
2000-10-26 | 230 | 1M | 8.306e-05 | W | 300 | 2 | 30 | 2.5 | 300.1042 | 2.5 | 300 | 300.1042
2000-10-26 | 245 | 1M | 2.475e-05 | W | 300 | 2 | 45 | 2.75 | 300.1146 | 2.75 | 300 | 300.1146
2000-10-26 | 300 | 1M | 1.729e-05 | W | 300 | 3 | 0 | 3 | 300.125 | 3 | 300 | 300.125
2000-10-26 | 315 | 1M | 8.102e-05 | W | 300 | 3 | 15 | 3.25 | 300.1354 | 3.25 | 300 | 300.1354
2000-10-26 | 330 | 1M | 0.0001139 | W | 300 | 3 | 30 | 3.5 | 300.1458 | 3.5 | 300 | 300.1458
2000-10-26 | 345 | 1M | 0.0001829 | W | 300 | 3 | 45 | 3.75 | 300.1562 | 3.75 | 300 | 300.1562
2000-10-26 | 400 | 1M | 4.526e-05 | W | 300 | 4 | 0 | 4 | 300.1667 | 4 | 300 | 300.1667
2000-10-26 | 415 | 1M | 0.0001787 | W | 300 | 4 | 15 | 4.25 | 300.1771 | 4.25 | 300 | 300.1771
2000-10-26 | 430 | 1M | 0.0001833 | W | 300 | 4 | 30 | 4.5 | 300.1875 | 4.5 | 300 | 300.1875
2000-10-26 | 445 | 1M | 3.391e-05 | W | 300 | 4 | 45 | 4.75 | 300.1979 | 4.75 | 300 | 300.1979
2000-10-26 | 500 | 1M | 9.34e-05 | W | 300 | 5 | 0 | 5 | 300.2083 | 5 | 300 | 300.2083
2000-10-26 | 515 | 1M | 0.0001709 | W | 300 | 5 | 15 | 5.25 | 300.2188 | 5.25 | 300 | 300.2188
2000-10-26 | 530 | 1M | 0.0001343 | W | 300 | 5 | 30 | 5.5 | 300.2292 | 5.5 | 300 | 300.2292
2000-10-26 | 545 | 1M | 9.662e-06 | W | 300 | 5 | 45 | 5.75 | 300.2396 | 5.75 | 300 | 300.2396
2000-10-26 | 600 | 1M | 8.813e-06 | W | 300 | 6 | 0 | 6 | 300.25 | 6 | 300 | 300.25
2000-10-26 | 615 | 1M | 1.407e-05 | W | 300 | 6 | 15 | 6.25 | 300.2604 | 6.25 | 300 | 300.2604
2000-10-26 | 630 | 1M | 1.712e-05 | W | 300 | 6 | 30 | 6.5 | 300.2708 | 6.5 | 300 | 300.2708
2000-10-26 | 645 | 1M | 0.0006621 | W | 300 | 6 | 45 | 6.75 | 300.2812 | 6.75 | 300 | 300.2812
2000-10-26 | 700 | 1M | 0.009833 | W | 300 | 7 | 0 | 7 | 300.2917 | 7 | 300 | 300.2917
2000-10-26 | 715 | 1M | 0.2102 | W | 300 | 7 | 15 | 7.25 | 300.3021 | 7.25 | 300 | 300.3021
2000-10-26 | 730 | 1M | 2.434 | W | 300 | 7 | 30 | 7.5 | 300.3125 | 7.5 | 300 | 300.3125
2000-10-26 | 745 | 1M | 8.735 | W | 300 | 7 | 45 | 7.75 | 300.3229 | 7.75 | 300 | 300.3229
2000-10-26 | 800 | 1M | 28.68 | W | 300 | 8 | 0 | 8 | 300.3333 | 8 | 300 | 300.3333
2000-10-26 | 815 | 1M | 63.78 | W | 300 | 8 | 15 | 8.25 | 300.3438 | 8.25 | 300 | 300.3438
2000-10-26 | 830 | 1M | 105.7 | W | 300 | 8 | 30 | 8.5 | 300.3542 | 8.5 | 300 | 300.3542
2000-10-26 | 845 | 1M | 139.6 | W | 300 | 8 | 45 | 8.75 | 300.3646 | 8.75 | 300 | 300.3646
2000-10-26 | 900 | 1M | 221 | W | 300 | 9 | 0 | 9 | 300.375 | 9 | 300 | 300.375
2000-10-26 | 915 | 1M | 262.9 | W | 300 | 9 | 15 | 9.25 | 300.3854 | 9.25 | 300 | 300.3854