## daily
Davis Health weather station installed at Mountaintop Campus, Lehigh University | [22 empty] | Tropo ozone | http://www.dep.state.pa.us/dep/deputate/airwaste/aq/aqm/pollt.html |  |  |  | slope | -0.0248 | Look at specs for Tempco to see if diff between UV-B
Weather data managed by Dr. Bruce R. Hargreaves, brh0@lehigh.edu (spreadsheet revised 25Sep06: eqn's for vapor pressure & Tdp from %RH and Tair) | [22 empty] | *URL: | http://toms.gsfc.nasa.gov/teacher/ozone_overhead_archive_v8.html?105,50 |  |  |  | intercept | 9.83 | and PYR tempco could explain much of the variation.
| Note: unheated rain gage under-reports frozen precip and also reports it later (when it melts) | [18 empty] | July05 now use running avg (1hr) for ratio |  |  |  | http://toms.gsfc.nasa.gov/ |  |  | <=TOMS information on new OMI data
UVB sensor has changed its responsiveness starting 15March07 (much larger signal) | [23 empty] | OMI ozone data for Latitude 41 (actual=40.6), Longitude -75 (actual=-75.4) | [5 empty] | Note that PYR can be expected to vary with atmospheric moisture (PYR will decline at highest %RH)
MONTHLY SUMMARY | MinTimeEDT | AvgT-air (F) | MaxT-HI(F) | MinT-LO(F) | Avg Dew Pt (F) | Avg_WInd-chill(F) | Avg RH out(%) | Sum Rain(in.) | Avg Wind (mph) | Max Wind-HI (mph) | Avg Barom (in.) | Max SolarRad (W/m2) | sum DailySolar (KJ/m2) | MaxUV-meds | sum DailyUV-meds | Avg RH encl(%) | Min Batt Volts | Max of noon ratio*1000 | noon solar rad | Avg VP, KPa | Min VP, KPa | Min # Records | Waiting for OMI ozone to fix data prob. | Stratospheric ozone (measured in Dobson Units) absorbs UV-B | [5 empty] | UV sensor output |  | 0.02 | %/oF (+/- after compensation by console using Tair)
| 17:00 | 68.1 | 69.7 | 66.8 | 51.3453 | 68.1 | 55 | 0 | 2.3333 | 8 | 29.2187 | 596 | 1277.1 | 2.6 | 5940 | 39.3333 | 13.9763 | 3 | 0 | 0 | 1.2891 | 1.2809 |  | so higher DU readings mean less UV-B reaches the earth's surface. | [5 empty] | PYR output |  | -0.034 | %/oF
| Data | [22 empty] | Other factors include sun angle and tropospheric air pollution affecting air and clouds
Date | MaxtimeEDT | AvgT-air (F) | MaxT-HI(F) | MinT-LO(F) | Avg Tdp (F) from %RHadj | Avg_WInd-chill(F) | Avg %Rhadj | Sum Rain(in.) | Avg Wind (mph) | Max Wind-HI (mph) | AvgBarom(in.) | Max SolarRad (W/m2) | DailySolarKJ/m2 | MaxUV-meds | DailyUV-meds | Avg RH encl(%) | Min Batt Volts | # Records | Max of noon ratio*1000 | noon solar_rad | Avg VP KPa | Min VP, KPa | maxUVratio | *Column Ozone DU | correction to dewpt=0oF: | ratio @VP=0 | ratio_corr = ratio-(0.0525-40)*slope |  |  | Lacawac location: 41N, 75W |  |  | Campus location
2008-04-22 | 17:00 | 68.1 | 69.7 | 66.8 | 51.3453 | 68.1 | 55 | 0 | 2.3333 | 8 | 29.2187 | 596 | 1277.1 | 2.6 | 5940 | 39.3333 | 13.9763 | 3 | 0 |  | 1.2891 | 1.2809 | 3 | 286 | 1 | 3 | http://toms.gsfc.nasa.gov/teacher/ozone_overhead_archive.html?105,49 |  |  | 1 | 291 |  | 286
[23 empty] | #N/A | 290 | 2 | #N/A |  |  |  | 2 | 296 |  | 290
[23 empty] | #N/A | 289 | 3 | #N/A |  |  |  | 3 | 304 |  | 289
[23 empty] | #N/A | 284 | 4 | #N/A |  |  |  | 4 | 297 |  | 284
[23 empty] | #N/A | 265 | 5 | #N/A |  |  |  | 5 | 275 |  | 265
[23 empty] | #N/A | 257 | 6 | #N/A |  |  |  | 6 | 268 |  | 257
[23 empty] | #N/A | 293 | 7 | #N/A |  |  |  | 7 | 309 |  | 293
[23 empty] | #N/A | 314 | 8 | #N/A |  |  |  | 8 | 328 |  | 314
[23 empty] | #N/A | 282 | 9 | #N/A |  |  |  | 9 | 299 |  | 282
[23 empty] | #N/A | 315 | 10 | #N/A |  |  |  | 10 | 342 |  | 315
[23 empty] | #N/A | 354 | 11 | #N/A |  |  |  | 11 | 365 |  | 354
[23 empty] | #N/A | 321 | 12 | #N/A |  |  |  | 12 | 328 |  | 321
[23 empty] | #N/A | 313 | 13 | #N/A |  |  |  | 13 | 322 |  | 313
[23 empty] | #N/A |  | 14 | #N/A |  |  |  | 14 |  |  | 0
Loss of data because of software problem while BRH was away (Mar-Apr). | [22 empty] | #N/A |  | 15 | #N/A |  |  |  | 15 |  |  | 0
Comparable data (except for UV) are available at WeatherNet, Goodman Campus site | [22 empty] | #N/A |  | 16 | #N/A |  |  |  | 16 |  |  | 0
[23 empty] | #N/A |  | 17 | #N/A |  |  |  | 17 |  |  | 0
[23 empty] | #N/A |  | 18 | #N/A |  |  |  | 18 |  |  | 0
[23 empty] | #N/A |  | 19 | #N/A |  |  |  | 19 |  |  | 0
[23 empty] | #N/A |  | 20 | #N/A |  |  |  | 20 |  |  | 0
[23 empty] | #N/A |  | 21 | #N/A |  |  |  | 21 |  |  | 0
[23 empty] | #N/A |  | 22 | #N/A |  |  |  | 22 |  |  | 0
[23 empty] | #N/A |  | 23 | #N/A |  |  |  | 23 |  |  | 0
[23 empty] | #N/A |  | 24 | #N/A |  |  |  | 24 |  |  | 0
[23 empty] | #N/A |  | 25 | #N/A |  |  |  | 25 |  |  | 0
[23 empty] | #N/A |  | 26 | #N/A |  |  |  | 26 |  |  | 0
[23 empty] | #N/A |  | 27 | #N/A |  |  |  | 27 |  |  | 0
[23 empty] | #N/A |  | 28 | #N/A |  |  |  | 28 |  |  | 0
[23 empty] | #N/A |  | 29 | #N/A |  |  |  | 29 |  |  | 0
[23 empty] | #N/A |  | 30 | #N/A |  |  |  | 30 |  |  | 0
[23 empty] | #N/A |  | 31 | #N/A |  |  |  | 31 |  |  | 0
Notes:
Note on Z2: Hargreaves: Site for news on satellite status: http://avdc.gsfc.nasa.gov/Overview/news.html
Note on AC9: Hargreaves: On Thu, 5 Jan 2006, Bruce R. Hargreaves wrote: >> Hi Dave. >> Is there something you need to do so that 2006 appears as a menu choice >> in the YEAR menu at the "What was the total column ozone amount over you >> house?" web site? I get daily values for several ground UV monitoring >> sites to evaluate performance of my sensors and to investigate >> tropospheric phenomena that influence UV-B irradiance. Greetings Bruce! The answer to your inquiry can be found on our web site home page (http://toms.gsfc.nasa.gov). Effective January 1, 2006, we have suspended real-time data processing of Earth Probe TOMS data. In a few days, we should have many of the features for the Earth Probe TOMS data switched over to use OMI data.

## graphs
May 2007 review of Tmin and Tdewpt. Why doesn't the air T track dewpt at night like Goodman Campus?
One hypothesis is that cold air forming near ground from radiative loss will simply slide down the hill.
A test for this would be to place a series of near-ground airT sensors on a transect from Mtn top station toward
Goodman Campus. It would also be instructive to add near-ground wind sensors (direction and speed) at the
same sites. The Goodman campus data show an increase in wind direction variability during night cooling, consistent with a Mtn source.
Note: remounted light sensors on new base on 12 Jun04 (3:15-4:15pm); better leveled now
Note that resolution of UV-B is generally poor, especially at low light and low sun angle (resolution=0.1; max value =2)
Threshold for PYR used to exclude ratios of UV-B:PYR when irradiance is too low for reasonable resolution.
Check this graph to see if residuals
correspond to high dewpoint (which reduce PYR)
in addition to Ozone DU
Note that the ratio is prone to high spikes because a cloud covering the sun
will drastically lower the denominator (solar heat) but only slightly lower
the UV-B irradiance which comes largely from the sky.
(Robust ratio requires a reference WL not absorbed by ozone but similar in diffuse/direct ratio, e.g. 340 nm).
Jan2007: apparently there are changes in moisture correlated with changes
in ozone that are offsetting in the ratio of UVB/PYR
At Lacawac where the ozone proxy ratio is insensitive to water vapor
(E305/E340), there is a very strong correlation between the ratio and satellite ozone.
March 07: two levels of UV sensor response and wide variation in ozone
(sensor problem?? Dirt or ice on sensor??)
Apr07, once again, atmospheric moisture is correlated with ozone levels & Ozone Index (UVB/PYR)
This time the effect seems to be a false strengthening of the UV/PYR index vs ozone.
May07, atm moisture correlated with ozone index but not satellite ozone
(higher VP should cause lower mid-day PYR readings and higher UVB/PYR ratio)
The impact of the VP factor should be to account for some of the changes in ozone index
that are not correlated with satellite ozone
Jun-Aug07, satellite ozone shows strong inverse corr with VP;
This tends to cancel the inverse corr of UV ratio and ozone
(higher VP should cause lower mid-day PYR readings and higher UVB/PYR ratio, which offsets ozone lowering the UVB)
Sep07: satellite ozone strong pos. corr with VP
This may cause falsely strong corr. Of UV-B ratio with satellite ozone
Oct07: unusually low satellite ozone but weak correlation with UV index
(strongest correlation of index is with vapor pressure, indicating more variations in PYR than UV part of ratio)
Nov07: some unusually low satellite ozone, but stronger corr. With UV index (very strong in Poconos excluding certain days for noisy signal)
(relatively weak corr of index with vapor pressure)

## 15-minute
| max | 124.7 | 69.4 | 69.7 | 69 | 79.5 | 150 | 67 | 596 | 712 | 2.6 | 3.1 | 0.5 | 29.225 | 3 | 8 |  | 69.4 | 0 | 0 | 40 | 54 | 50 | 14.0716 |  | 17 | 30 | 17 | 0.70833 | 39560.7083 | 0 | 22 | 22.7083 | 536.4 | 2340 | 4.6512 | #N/A | 0 | 135 | 180 | 180 | Note: to avoid creating averages from NW & NE that appear to be S, directions have 180 added before averaging |  | 360 |  |  | 3 | 32 |  |  | From CSI: Tdp = (C3 * ln(Vp / C1 )) / (C2 - ln(Vp / C1 ))
| min | 124.3 | 67 | 67.5 | 66.8 | 79.5 | 150 | 67 | 312 | 684 | 1.8 | 2.3 | 0.3 | 29.215 | 2 | 7 |  | 67 | 0 | 0 | 39 | 50 | 49.6 | 13.9763 |  | 16 | 0 | 16 | 0.66667 | 39560.6667 | 0 | 22 | 22.6667 | 280.8 | 1620 | 4.6512 | #N/A | 0 | 0 | 0 | 90 |  |  | 360 |  |  | %RH offset | 212 | 0.6112 | start of | 0.61078 | c1
[24 empty] | a | multiplier | [10 empty] | pyr threshold | [11 empty] | 100 | 17.67 | "day" | 17.558 | c2
Note: after copying and pasting new data from text file, dates are in wrong format; use data menu (text to columns) to convert date column to MMYYDD format. Then copy all eqn cells (blue font; starting in column Y) to match rows with raw data | [23 empty] | 116.4267 | exponent | [10 empty] | 200 | <=REFRESH DAILY TABLE AFTER CHANGING | [10 empty] | 1.8 | 243.5 | 24 | 241.88 | c3
[24 empty] | b | [9 empty] | integ factor |  | integ factor | [14 empty] | (Teten's eqn, optimized for -35 to +50oC) where T is oC and Vp is KPa
Davis Health weather station installed at Mountaintop Campus, Lehigh University | [23 empty] | -0.017 | [9 empty] | 0.9 | 900 | 1000 | [7 empty] | 360 | [5 empty] | night VP | night Tdp
Date | Time(EDT) | Temp-in | Temp-out | T-HI | T-LO | THWSI | THI-IN | THI-OUT | SolarRad | Solar-HI | UV-RAD | UV-HI | UV-DOSE | BAR-inch | Wind mph | Wind-HI mph | Wind-DIR | WInd-chill | Rain | RainRate-Hi | RH-IN | RH-OUT | DewPt | MinBattV | hr | 24hr | min | dec_time | Excel_time | Date_time | CumPrecip in. | DayOfMonth | Decimal Day | CumSolarKJ | CumUV | ratio*1000 | noon UV-B | noon ratio*1000 | Wdirdeg1 | Wdirdeg2 | Wdirdeg | WDIR | Wdir_to_avg | offset | noon solar rad | noon dewpoint | %RHadj | Tair, (C) | VPsat kPa CSI (Bolton 1980) | VP, KPa from VPsat & %RHadj | CSI Tdp (F) from VP
0
2008-04-22 | 4:00p | 124.3 | 67 | 67.5 | 66.8 | --- | 150 | --- | 312 | 712 | 2.2 | 3 | 0.3 | 29.225 | 3 | 8 | E | 67 | 0 | 0 | 40 | 54 | 49.8 | 14.0716 | 4 | 16 | 0 | 16 | 16:00 | 2008-04-22 16:00 | 0 | 22 | 22.6667 | 280.8 | 1980 | 4.6512 | #N/A | 0 | 90 | 0 | 90 | E | 450 | 360 | NA | NA | 57 | 19.4444 | 2.2577 | 1.2869 | 51.2989
2008-04-22 | 4:30p | 124.4 | 67.9 | 69 | 66.9 | --- | 150 | --- | 596 | 686 | 2.6 | 3.1 | 0.5 | 29.216 | 2 | 7 | SE | 67.9 | 0 | 0 | 39 | 52 | 49.6 | 14.0477 | 4 | 16 | 30 | 16.5 | 16:30 | 2008-04-22 16:30 | 0 | 22 | 22.6875 | 536.4 | 2340 | 4.6512 | #N/A | 0 | 135 | 0 | 135 | SE | 495 | 360 | NA | NA | 55 | 19.9444 | 2.3289 | 1.2809 | 51.1729
2008-04-22 | 5:00p | 124.7 | 69.4 | 69.7 | 69 | 79.5 | 150 | 67 | 511 | 684 | 1.8 | 2.3 | 0.4 | 29.215 | 2 | 8 | S | 69.4 | 0 | 0 | 39 | 50 | 50 | 13.9763 | 5 | 17 | 0 | 17 | 17:00 | 2008-04-22 17:00 | 0 | 22 | 22.7083 | 459.9 | 1620 | 4.6512 | #N/A | 0 | 0 | 180 | 180 | S | 180 | 360 | NA | NA | 53 | 20.7778 | 2.452 | 1.2996 | 51.564
Formulas:
Date_time = [Excel_time]+[Date]

## description
Site and instrument description
Instrument: Health Monitor (solar powered) from Davis Instruments (console modified; see note below about Battery Voltage from Inside Temperature)
Communication via Proxim RangeLAN2 serial adaptor to access point for LAN download of data
Radio power (and power for GPS base station) provided by large solar-charged battery array on site)
Location: | Elevation | 918 | feet (by altimeter adjusted to topographic map reference elevations)
|  | 279.8 | meters
| Latitude | 40.6016 | degrees N (by Garmin GPS using WAAS differential correction, accuracy radius 8.3 ft)
| Longitude | 75.3576 | degrees W (by Garmin GPS using WAAS differential correction, accuracy radius 8.3 ft)
Datum
12/23/01, BatteryVoltage_From_InsideTemp.xls
BRH Modified console for Davis Health Monitor: uses "inside temperature" reading with thermistor circuit replaced by voltage divider from power sources.
A. External battery source (e.g. solar charged batteries, 22-28VDC) plugged into accessory coaxial jack (plug mates with 2.1mm inside pin of jack)
B. Console power (either 6VDC solar charged battery, 12VDC AC Adapter, or any other source plugged into console power jack (plug mates with 2.5mm inside pin).
Voltage source to be measured passes across a rectifier diode (forward jxn), then through 180K 0.1% resistor and 20K 1% potentiometer.
From the potentiometer to ground there is a 0.1mfd ceramic capacitor (50V) and a 7.5V 1W zener diode.
The console power has already passed through a rectifier diode before reaching the voltage module so roughly 0.7 should be added to the measured voltage to
estimate the actual voltage of the source.
The potentiometer was adjusted to give a reasonable range of response and the following data were recorded using a variac powering a CSI AC Adaptor (nominal 25VDC).
Reported T (oF) | E_measured | E_regress |  | Equation (y=aebx)
187 | 5 | 0 | 5 | y = 116.4267e-0.0170x
174 | 6 | 0 | 6 | R2 = 0.9996
166 | 7 | 0 | 7
157 | 8 | 0 | 8 | 116.4267 | a
150 | 9.1 | 0 | 9.1 | -0.017 | b
144 | 10 | 0 | 10
139 | 11 | 0 | 11 | Accuracy appears
133 | 12.2 | 0 | 12.2 | to be within 0.1V
129 | 13.1 | 0 | 13.1 | and much of the
124 | 14.3 | 0 | 14.3 | apparent error
99 | 22 | 0 | 22 | is caused by
84 | 28 | 0 | 28 | using rounded T
81 | 29.35 | 0 | 29.35 | values from
79 | 30.7 | 0 | 30.7 | console display
Note: add 0.7V to estimates when console power is measured
(when no connection to external power jack or when external volts< console volts)